OPTICAL MINERALOGY OUTLINE 2004-2005

## Introduction

Properties of light and its interaction with mineral grains: reflection, refraction, polarization, interference phenomena, extinction, color and pleochroism. Refractometry; isotropic, uniaxial and biaxial optics; interpretation of interference figures. Transmitted light petrography in the identification and familiarization with major rock forming minerals in grain mounts and thin section.

Instructor: Sobhi Nasir, Tel. 1403  e-mail: sobhi@squ.edu.om 
Lectures:  
Labs:

Recommended Text:
Lectures;
 Kerr - Optical Mineralogy This text is available in the bookstore and will be used in this course

Supplementary Texts - Available in the Main Library

- Bloss - An Introduction to the Methods of Optical Mineralogy

- Introduction to Optical Mineralogy, Third Edition, by William D. Neese

- Phillips - Mineral Optics, Principles and Techniques

- Deer, Howie and Zussman - Rock Forming Minerals. A 7 volume set, invaluable to petrologists.

- Deer, Howie and Zussman - Introduction to Rock Forming Minerals. A condensed version of the 7 volume set.

- Ehlers - Optical Mineralogy Volumes 1 and 2

- MacKenzie and Guilford - Atlas of rock-forming minerals in this section

Evaluation

### Midterm         15%
Final                40%
Labs                 10%
Lab Exam        25%
Spotting Quiz    10%

### Contents:

### Properties of Light

- Introduction

- Electromagnetic Radiation

- Wave Front, Wave Normal

- Phase and Interference

- Reflection and Refraction

- Polarization of Light

### Refractometry

- Relief

- Becke Line

  - Defined

  - Lens Effect

  - Internal Reflection

  - Becke Line Movement

### Isotropic Materials

- Optics

- Indicatrix

- Isotropic vs. Anisotropic

### Anisotropic Minerals

- Introduction

- Packing

- Interference Phenomena

  - Retardation

  - Interference at the Upper Polar

  - Monochromatic Light

  - Polychromatic Light

### Optical Properties

- Extinction

- Accessory Plates

- Vibration Directions in Minerals

- Sign of Elongation

- Relief and Pleochroism

### Uniaxial Minerals

- Uniaxial Optics

- Uniaxial Optic Sign

- Paths Followed by Light

- Uniaxial Indicatrix

- Birefringence and Interference Colours

- Extinction in Uniaxial Minerals

- Pleochroism in Uniaxial Minerals

- Interference figures

  - How to obtain an Interference Figure

  - Optic Axis Figure

    - Interference Figure

    - Formation of the Isochromes

    - Formation of the Isogyres

    - Optic Sign Determinatio

  - Off-Centred Optic Axis Figure

  - Uniaxial Flash Figure

- Summary of Uniaxial Interference Figure

### Uniaxial Minerals - Optical Properties, Descriptions and Pictures

| Optical Properties |
| --- |
| Apatite | Calcite | Nepheline |
| Quartz | Tourmaline | Zircon |

### Biaxial Minerals

- Biaxial Optics

- Biaxial Indicatrix

- Optic Sign

- Crystallographic Orientation and the Indicatrix

- Biaxial Inteference Figures

  - Acute Bisectrix Figure (Bxa)

    - Formation of the Isochromes

    - Vibration Directions and Formation of the Isogyres

    - Rotation of the Isogyre

  - Centred Optic Axis Figure

  - Obtuse Bisectrix Figure (Bxo)

  - Optic Normal or Biaxial Flash Figure

  - Off Centred Figures

- Optic sign determination

  - Acute Bisectrix Figure,  Obtuse Bisectrix Figure

  - Optic Axis Figure,  Optic Normal

- Identifying Grains Which Will Produce Usable Interference Figures

- Other Properties of Biaxial Minerals

###### Biaxial Minerals

| Optical Properties |
| --- |
| Olivine | Orthopyroxene | Clinopyroxene |
| Hornblende | Tremolite - Actinolite | Plagioclase |
| Biotite | Muscovite | Chlorite |
| Microcline | Orthoclase | Sanidine |

OPTICAL MINERALOGY LABORATORY SCHEDULE

## Part I - Lab Outline

The lab component of this course accounts for 50% of the final grade, 30% for the labs, 5 % for determining the refractive index of an isotropioc mineral and 15% for the lab exam. The latter will involve the identification of minerals or specific optical properties for a given sample in a spotting quiz and the identification of the minerals within a single thin section.

In the lab portion of this course the following will be covered.

### Mineral Optics

The first item to be introduced will be the petrographic microscope. All remaining labs will involve the use of the microscope and the interaction of the light with the mineral, in grain mount or in thin section to define the optical properties used in identification and recognition.

### Mineral Identification

At the completion of the course you should be able to identify 8-10 major minerals or groups of minerals

  - garnet, fluorite, halite

  - calcite

  - quartz, nepheline, apatite, tourmaline, zircon

  - olivine

  - pyroxenes (orthopyroxene, clinopyroxene)

  - amphiboles (hornblende, tremolite-actinolite)

  - micas (biotite, muscovite, chlorite)

  - feldspars (plagioclase, microcline, orthoclase, sanidine)

### Identification of Unknowns

With the information and techniques obtained in the labs and from the lecture material you will have the ability to identify an unknown mineral present in a thin section or a grain mount. (You will be doing this for the first time in the lab exam.)

## Part II - Lab Schedule

Lab #/Lab Topic

- Introduction to the Petrographic Microscope

- Becke Line and Refractive Index Determination

- Double Refraction and Refractive Index

- Uniaxial Minerals - Refractive Index Determination

- Uniaxial Minerals - Interference Figures

- Uniaxial Minerals - Identification and Spotting Quiz

- Biaxial Minerals - Optical Properties and Indicatrix

- Biaxial Minerals - Interference Figures Part I - Knowns

- Biaxial Minerals - Interference Figures Part II - Unknowns

- Pyroxenes - Optical Properties and Identification

- Amphiboles and Micas - Optical Properties and Identification

- Feldspars - Optical Properties and Identification

- Lab Exam (Spotting Quiz and Mineral Identification)

## INTRODUCTION

Light- a form of energy, detectable with the eye, which can be transmitted from one place to another at finite velocity.

Visible light is a small portion of a continuous spectrum of radiation ranging from cosmic rays to radio waves.

Light spectrum

White or visible light, that which the eye detects, is only a fraction of the complete spectrum - produced by shining white light through a glass prism.

Two complimentary theories have been proposed to explain how light behaves and the form by which it travels.

- Particle theory - release of a small amount of energy as a photon when an atom is excited.

- Wave theory - radiant energy travels as a wave from one point to another.

Waves have electrical and magnetic properties => electromagnetic variations.

Wave theory effectively describes the phenomena of polarization, reflection, refraction and interference, which form the basis for optical mineralogy.

Components of a Light Ray

## ELECTROMAGNETIC RADIATION

The electromagnetic radiation theory of light implies that light consists of electric and magnetic components which vibrate at right angles to the direction of propagation.

In optical mineralogy only the electric component, referred to as the electric vector, is considered and is referred to as the vibration direction of the light ray.

The vibration direction of the electric vector is perpendicular to the direction in which the light is propagating.

The behaviour of light within minerals results from the interaction of the electric vector of the light ray with the electric character of the mineral, which is a reflection of the atoms and the chemical bonds within that minerals.

Light waves are described in terms of velocity, frequency and wavelength.

The velocity (V) and the wavelength are related in the following equation,

where:

F = Frequency or number of wave crests per second which pass a reference points => cycles/second of Hertz (Hz).

For the purposes of optical mineralogy, F = constant, regardless of the material through which the light travels. If velocity changes, then the wavelength must change to maintain constant F.

Light does not consist of a single wave => infinite number of waves which travel together

## WAVE FRONT, WAVE NORMAL

With an infinite number of waves travelling together from a light source, we now define:

- Wave front - parallel surface connecting similaror equivalent points on adjacent waves.

- Wave Normal - a line perpendicular to the wavefront, representing the direction the wave is moving.

- Light Ray is the direction of propagation of the light energy.

Minerals can be subdivided, based on the interaction of the light ray travelling through the mineral and the nature of the chemical bonds holding the mineral together, into two classes:

#### Isotropic Minerals

Isotropic materials show the same velocity of light in all directions because the chemical bonds holding the minerals together are the same in all directions, so light travels at the same velocity in all directions.

  - Examples of isotropic material are volcanic glass and isometric minerals (cubic) Fluorite, Garnet, Halite

In isotropic materials the Wave Normal and Light Ray are parallel.

#### Anisotropic Minerals

Anisotropic minerals have a different velocity for light, depending on the direction the light is travelling through the mineral. The chemical bonds holding the mineral together will differ depending on the direction the light ray travels through the mineral.

  - Anisotropic minerals belong to tetragonal, hexagonal, orthorhombic, monoclinic and triclinic systems.

In anisotropic minerals the Wave Normal and Light Ray are not parallel.

Light waves travelling along the same path in the same plane will interfere with each other.

## PHASE AND INTERFERENCE

Before going on to examine how light inteacts with minerals we must define one term:

RETARDATION - (delta) represents the distance that one ray lags behind another. Retardation is measured in nanometres, 1nm = 10-7cm, or the number of wavelengths by which a wave lags behind another light wave.

The relationship between rays travelling along the same path and the interference between the rays is illustrated in the following three figures.

- If retardation is a whole number (i.e., 0, 1, 2, 3, etc.) of wavelengths.
The two waves, A and B, are IN PHASE, and they constructively interfere with each other. The resultant wave (R) is the sum of wave A and B.

- When retardation is = ½, 1½, 2½ . . . wavelengths.
The two waves are OUT OF PHASE they destructively interfere, cancelling each other out, producing the resultant wave (R), which has no amplitude or wavelength.

- If the retardation is an intermediate value, the the two waves will:

  - be partially in phase, with the interference being partially constructive

  - be partially out of phase, partially destructive.

In a vacuum light travels at 3x1010 cm/sec (3x1017 nm/sec)

.

When light travels through any other medium it is slowed down, to maintain constant frequency the wavelength of light in the new medium must also changed.

## REFLECTION AND REFRACTION

At the interface between the two materials, e.g. air and water, light may be reflected at the interface or refracted (bent) into the new medium.

For Reflection the angle of incidence = angle of reflection.

For Refraction the light is bent when passing from one material to another, at an angle other than perpendicular.

A measure of how effective a material is in bending light is called the Index of Refraction (n), where:

Index of Refraction in Vacuum = 1 and for all other materials n > 1.0.

Most minerals have n values in the range 1.4 to 2.0.

A high Refractive Index indicates a low velocity for light travelling through that particular medium.

#### Snell's Law   :

Snell's law can be used to calculate how much the light will bend on travelling into the new medium.

If the interface between the two materials represents the boundary between air (n ~ 1) and water (n = 1.33) and if angle of incidence = 45°, using Snell's Law the angle of refraction = 32°.

The equation holds whether light travels from air to water, or water to air.

In general, the light is refracted towards the normal to the boundary on entering the material with a higher refractive index and is refracted away from the normal on entering the material with lower refractive index.

In labs, you will be examining refraction and actually determine the refractive index of various materials.

## POLARIZATION OF LIGHT

All of this introductory material on light and its behaviour brings us to the most critical aspect of optical mineralogy - that of Polarization of Light.

Light emanating from some source, sun, or a light bulb, vibrates in all directions at right angles to the direction of propagation and is unpolarized.

In optical mineralogy we need to produce light which vibrates in a single direction and we need to know the vibration direction of the light ray. These two requirements can be easily met but polarizing the light coming from the light source, by means of a polarizing filter.

Three types of polarization are possible.

- Plane Polarization

- Circular Polarization

- Elliptical Polarization

Three Types of Polarized Light

In the petrographic microscope plane polarized light is used. For plane polarized light the electric vector of the light ray is allowed to vibrate in a single plane, producing a simple sine wave with a vibration direction lying in the plane of polarization - this is termed plane light or plane polarized light.

Plane ploarized light may be produced by reflection, selective absorption, double refraction and scattering.

#### Reflection

Unpolarized light strikes a smooth surface, such as a pane of glass, tabletop, and the reflected light is polarized such that its vibration direction is parallel to the reflecting surface.
The reflected light is completely polarized only when the angle between the reflected and the refracted ray = 90°.

#### Selective Absorption

This method is used to produce plane polarized light in microscopes, using polarized filters.

Some anisotropic materials have the ability to strongly absorb light vibrating in one direction and transmitting light vibrating at right angles more easily. The ability to selectively transmit and absorb light is termed pleochroism, seen in minerals such as tourmaline, biotite, hornblende, (most amphiboles), some pyroxenes.

Upon entering an anisotropic material, unpolarized light is split into two plane polarized rays whose vibratioin directions are perpendicular to each other, with each ray having about half the total light energy.

If anisotropic material is thick enough and strongly pleochroic, one ray is completely absorbed, the other ray passes through the material to emerge and retain its polarization.

#### Double Refraction

This method of producing plane polarized light was employed prior to selective absorption in microscopes. The most common method used was the Nicol Prism. See page 14 and Figure 1.14 in Nesse.

#### Scattering

Polarization by scattering, not relevant to optical mineralogy, is responsible for the blue colour of the sky and the colours observed at sunset.

## RELIEF

This section is covered in Chapter 3 of Nesse.

Refractometry involves the determination of the refractive index of minerals, using the immersion method. This method relys on having immersion oils of known refractive index  and comparing the unknown mineral to the oil.

If the indices of refraction on the oil and mineral are the same light passes through the oil-mineral boundary un-refracted and the mineral grains do not appear to stand out.

If noil <> nmineral then the light travelling though the oil-mineral boundary is refracted and the mineral grain appears to stand out.

RELIEF - the degree to which a mineral grain or grains appear to stand out from the mounting material, whether it is an immersion oil, Canada balsam or another mineral.

When examining minerals you can have:

- Strong relief

  - mineral stands out strongly from the mounting medium,

  - whether the medium is oil, in grain mounts, or other minerals in thin section,

  - for strong relief the indices of the mineral and surrounding medium differ by greater than 0.12 RI units.

- Moderate relief

  - mineral does not strongly stand out, but is still visible,

  - indices differ by 0.04 to 0.12 RI units.

- Low relief

  - mineral does not stand out from the mounting medium,

  - indices differ by or are within 0.04 RI units of each other.

A mineral may exhibit positive or negative relief:

- +ve relief - index of refraction for the material is greater than the index of the oil.
- e.g. garnet 1.76

- -ve relief nmin < noil 
- e.g. fluorite 1.433

It is useful to know whether the index of the mineral is higher or lower that the oil. This will be covered in the second lab section - Becke Line and Refractive Index Determination.

## BECKE LINE

In order to determine whether the idex of refraction of a mineral is greater than or less than the mounting material the Becke Line Method is used

.

BECKE LINE - a band or rim of light visible along the grain boundary in plane light when the grain mount is slightly out of focus.

Becke line may lie inside or outside the mineral grain depending on how the microscope is focused.

To observe the Becke line:

- use medium or high power,

- close aperture diagram,

- for high power flip auxiliary condenser into place.

Increasing the focus by lowering the stage, i.e. increase the distance between the sample and the objective, the Becke line appears to move into the material with the higher index of refraction.

The Becke lines observed are interpreted to be produced as a result of the lens effect and/or internal reflection effect.

## LENS EFFECT

Most mineral grains are thinner at their edges than in the middle, i.e. they have a lens shape and as such they act as a lens.

If nmin > noil the grain acts as a converging lens, concentrating light at the centre of the grain.

If nmin < noil, grain is a diverging lens, light concentrated in oil.

## INTERNAL REFLECTION

This hypothesis to explain why Becke Lines form requires that grain edges be vertical, which in a normal thin section most grain edges are believed to be more or less vertical.

With the converging light hitting the vertical grain boundary, the light is either refracted or internally reflected, depending on angles of incidence and indices of refraction.

Result of refraction and internal reflection concentrates light into a thin band in the material of higher refractive index.

If nmin > noil the band of light is concentrated within the grain.

If nmin < noil the band of light is concentrated within the oil.

## BECKE LINE MOVEMENT

The direction of movement of the Becke Line is determined by lowering the stage with the Becke Line always moving into the material with the higher refractive index. The Becke Line can be considered to form from a cone of light that extends upwards from the edge of the mineral grain.

Becke line can be considered to represent a cone of light propagating up from the edges of the mineral.

If nmin < noil, the cone converges above the mineral.

If nmin > noil, the cone diverges above the mineral.

By changing focus the movement of the Becke line can be observed.
If focus is sharp, such that the grain boundaries are clear the Becke line will coincide with the grain boundary.

Increasing the distance between the sample and objective, i.e. lower stage, light at the top of the sample is in focus, the Becke line appears:

- in the mineral if nmin >noil

- or in the oil if nmin << noil

Becke line will always move towards the material of higher RI upon lowering the stage.

A series of three photographs showing a grain of orthoclase:

- The grain in focus, with the Becke line lying at the grain boundary.

- The stage is raised up, such that the grain boundary is out of focus, but the Becke line is visible inside the grain.

- The stage is lowered, the grain boundary is out of focus, and the Becke line is visible outside the grain.

When the RI of the mineral and the RI of the mounting material are equal, the Becke line splits into two lines, a blue line and an orange line. In order to see the Becke line the microscope is slightly out of focus, the grain appears fuzzy, and the two Becke lines are visible. The blue line lies outside the grain and the orange line lies inside the grain. As the stage is raised or lowered the two lines will shift through the grain boundary to lie inside and outside the grain, respectively.

#### Index of Refraction in Thin Section

It is not possible to get an accurate determination of the refractive index of a mineral in thin section, but the RI can be bracket the index for an unknown mineral by comparison or the unknown mineral with a mineral whose RI is known.

Comparisons can be made with:

- epoxy or balsam, material (glue) which holds the sample to the slide n = 1.540

- Quartz

  - nw = 1.544

  - ne = 1.553

Becke lines form at mineral-epoxy, mineral-mineral boundaries and are interpreted just as with grain mounts, they always move into higher RI material when the stage is lowered.

## OPTICS

In Isotropic Materials - the velocity of light is the same in all directions. The chemical bonds holding the material together are the same in all directions, so that light passing through the material sees the same electronic environment in all directions regardless of the direction the light takes through the material.

Isotropic materials of interest include the following isometric minerals:

- Halite - NaCl

- Fluorite - Ca F2

- Garnet X3Y2(SiO4)3, where:

  - X = Mg, Mn, Fe2+, Ca

  - Y = Al, Fe3+, Cr

- Periclase - MgO

If an isometric mineral is deformed or strained then the chemical bonds holding the mineral together will be effected, some will be stretched, others will be compressed. The result is that the mineral may appear to be anisotropic.

## ISOTROPIC INDICATRIX

To examine how light travels through a mineral, either isotropic or anisotropic, an indicatrix is used.

INDICATRIX - a 3 dimensional geometric figure on which the index of refraction for the mineral and the vibration direction for light travelling through the mineral are related.

Isotropic Indicatrix

Indicatrix is constructed such that the indices of refraction are plotted on lines from the origin that are parallel to the vibration directions.

It is possible to determine the index of a refraction for a light wave of random orientation travelling in any direction through the indicatrix.

- a wave normal, is constructed through the centre of the indicatrix

- a slice through the indicatrix perpendicular to the wave normal is taken.

- the wave normal for isotropic minerals is parallel to the direction of propagation of light ray.

- index of refraction of this light ray is the radius of this slice that is parallel to the vibration direction of the light.

For isotropic minerals the indicatrix is not needed to tell that the index of refraction is the same in all directions.

Indicatrix introduced to prepare for its application with anisotropic materials.

## ISOTROPIC vs. ANISOTROPIC

Distinguishing between the two mineral groups with the microscope can be accomplished quickly by crossing the polars, with the following being obvious:

- All isotropic minerals will appear dark, and stay dark on rotation of the stage.

- Anisotropic minerals will allow some light to pass, and thus will be generally light, unless in specific orientations.

Why are isotropic materials dark?

- Isotropic minerals do no affect the polarization direction of the light which has passed through lower polarizer;

- Light which passes through the mineral is absorbed by the upper polar.

Why do anisotropic minerals not appear dark and stay dark as the stage is rotated?

- Anisotropic minerals do affect the polarization of light passing through them, so some component of the light is able to pass through the upper polar.

- Anisotropic minerals will appear dark or extinct every 90° of rotation of the microscope stage.

- Any grains which are extinct will become light again, under crossed polars as the stage is rotated slightly.

To see the difference between Isotropic vs. Anisotriopic minerals viewed with the petrographic microscope look atthe following images:

- Image 1- plane light view of a metamorphic rock containing three garnet grains, in a matrix of biotite, muscovite, quartz and a large stauroite grain at the top of the image.

- Image 2- Crossed polar view of the same image. Note that the three garnet grains are 'extinct" or black, while the remainnder of the minerals allow some light to pass.

Anisotropic minerals differ from isotropic minerals because:

- the velocity of light varies depending on direction through the mineral;

- they show double refraction.

When light enters an anisotropic mineral it is split into two rays of different velocity which vibrate at right angles to each other.

In anisotropic minerals there are one or two directions, through the mineral, along which light behaves as though the mineral were isotropic. This direction or these directions are referred to as the optic axis.

Hexagonal and tetragonal minerals have one optic axis and are optically UNIAXIAL.

Orthorhombic, monoclinic and triclinic minerals have two optic axes and are optically BIAXIAL.

In Lab # 3, you will examine double refraction in anisotropic minerals, using calcite rhombs.

Calcite Rhomb Displaying Double Refraction

Light travelling through the calcite rhomb is split into two rays which vibrate at right angles to each other. The two rays and the corresponding images produced by the two rays are apparent in the above image. The two rays are:

- Ordinary Ray, labelled omega w, nw = 1.658

- Extraordinary Ray, labelled epsilon e, ne = 1.486.

#### Vibration Directions of the Two Rays

The vibration directions for the ordinary and extraordinary rays, the two rays which exit the calcite rhomb, can be determined using a piece of polarized film. The polarized film has a single vibration direction and as such only allows light, which has the same vibration direction as the filter, to pass through the filter to be detected by your eye.

- Preferred Vibration Direction NS

With the polaroid filter in this orientation only one row of dots is visible within the area of the calcite rhomb covered by the filter. This row of dots corresponds to the light ray which has a vibration direction parallel to the filter's preferred or permitted vibration direction and as such it passes through the filter. The other light ray represented by the other row of dots, clearly visible on the left, in the calcite rhomb is completely absorbed by the filter.

- Preferred Vibration Direction EW

With the polaroid filter in this orientation again only one row of dots is visible, within the area of the calcite coverd by the filter. This is the other row of dots thatn that observed in the previous image. The light corresponding to this row has a vibration direction parallel to the filter's preferred vibration direction.

It is possible to measure the index of refraction for the two rays using the immersion oils, and one index will be higher than the other.

- The ray with the lower index is called the fast ray

  - recall that n = Vvac/Vmedium
If nFast Ray = 1.486, then VFast Ray = 2.02X1010 m/sec

- The ray with the higher index is the slow ray

  - If nSlow Ray = 1.658, then VSlow Ray = 1.8 1x1010 m/sec

Remember the difference between:

- vibration direction - side to side oscillation of the electric vector of the plane light
and

- propagation direction - the direction light is travelling.

Electromagnetic theory can be used to explain why light velocity varies with the direction it travels through an anisotropic mineral.

- Strength of chemical bonds and atom density are different in different directions for anisotropic minerals.

- A light ray will "see" a different electronic arrangement depending on the direction it takes through the mineral.

- The electron clouds around each atom vibrate with different resonant frequencies in different directions.

Velocity of light travelling though an anisotropic mineral is dependant on the interaction between the vibration direction of the electric vector of the light and the resonant frequency of the electron clouds. Resulting in the variation in velocity with direction.

Can also use electromagnetic theory to explain why light entering an anisotropic mineral is split into two rays (fast and slow rays) which vibrate at right angles to each other.

## PACKING

As was discussed in the previous section we can use the electromagnetic theory for light to explain how a light ray is split into two rays (FAST and SLOW) which vibrate at right angles to each other.

The above image shows a hypothetical anisotropic mineral in which the atoms of the mineral are:

- closely packed along the X axis

- moderately packed along Y axis

- widely packed along Z axis

The strength of the electric field produced by the electrons around each atom must therefore be a maximum, intermediate and minimum value along X, Y and Z axes respectively, as shown in the following image.

With a random wavefront the strength of the electric field, generated by the mineral, must have a minimum in one direction and a maximum at right angles to that.

Result is that the electronic field strengths within the plane of the wavefront define an ellipse whose axes are;

- at 90° to each other,

- represent maximum and minimum field strengths, and

- correspond to the vibration directions of the two resulting rays.

The two rays encounter different electric configurations therefore their velocities and indices of refraction must be different.

There will always be one or two planes through any anisotropic material which show uniform electron configurations, resulting in the electric field strengths plotting as a circle rather than an ellipse.

Lines at right angles to this plane or planes are the optic axis (axes) representing the direction through the mineral along which light propagates without being split, i.e., the anisotropic mineral behaves as if it were an isotropic mineral.

## INTERFERENCE PHENOMENA

The colours for an anisotropic mineral observed in thin section, between crossed polars are called interference colours and are produced as a consequence of splitting the light into two rays on passing through the mineral.

In the lectures we will examine interference phenomena first using monochromatic light and then apply the concepts to polychromatic or white light.

## RETARDATION

Monochromatic ray, of plane polarized light, upon entering an anisotropic mineral is split into two rays, the FAST and SLOW rays, which vibrate at right angles to each other.

#### Development of retardation

Due to differences in velocity the slow ray lags behind the fast ray, and the distance represented by this lagging after both rays have exited the crystal is the retardation - D.

The magnitude of the retardation is dependant on the thickness (d) of the mineral and the differences in the velocity of the slow (Vs) and fast (Vf) rays.

The time it takes the slow ray to pass through the mineral is given by:

during this same interval of time the fast ray has already passed through the mineral and has travelled an additional distance = retardation.

substituting 1 in 2, yields

rearranging

The relationship (ns - nf) is called birefringence, given Greek symbol lower case d (delta), represents the difference in the indices of refraction for the slow and fast rays.

In anisotropic minerals one path, along the optic axis, exhibits zero birefringence, others show maximum birefringence, but most show an intermediate value.

The maximum birefringence is characteristic for each mineral.

Birefringence may also vary depending on the wavelength of the incident light.

## INTERFERENCE AT THE UPPER POLAR

Now look at the interference of the fast and slow rays after they have exited the anisotropic mineral.

fast ray is ahead of the slow ray by some amount = D

Interference phenomena are produced when the two rays are resolved into the vibration direction of the upper polar.

Interference at the Upper Polar - Case 1

- Light passing through lower polar, plane polarized, encounters sample and is split into fast and slow rays.

- If the retardation of the slow ray = 1 whole wavelength, the two waves are IN PHASE.

- When the light reaches the upper polar, a component of each ray is resolved into the vibration direction of the upper polar.

- Because the two rays are in phase, and at right angles to each other, the resolved components are in opposite directions and destructively interfere and cancel each other.

- Result is no light passes the upper polar and the grain appears black.

Interference at the Upper Polar - Case 2

- If retardation of the slow ray behind the fast ray = ½ a wavelength, the two rays are OUT OF PHASE, and can be resolved into the vibration direction of the upper polar.

- Both components are in the same direction, so the light constructively interferes and passes the upper polar.

## MONOCHROMATIC LIGHT

If our sample is wedged shaped, as shown above, instead of flat, the thickness of the sample and the corresponding retardation will vary along the length of the wedge.

Examination of the wedge under crossed polars, gives an image as shown below, and reveals:

- dark areas where retardation is a whole number of wavelengths.

- light areas where the two rays are out of phase,

- brightest illumination where the retardation of the two rays is such that they are exactly ½, 1½, 2½ wavelengths and are out of phase.

The percentage of light transmitted through the upper polarizer is a function of the wavelength of the incident light and retardation.

If a mineral is placed at 45° to the vibration directions of the polarizers the mineral yields its brightest illumination and percent transmission (T).

## POLYCHROMATIC LIGHT

Polychromatic or White Light consists of light of a variety of wavelengths, with the corresponding retardation the same for all wavelengths.

Due to different wavelengths, some reach the upper polar in phase and are cancelled, others are out of phase and are transmitted through the upper polar.

The combination of wavelengths which pass the upper polar produces the interference colours, which are dependant on the retardation between the fast and slow rays.

Examining the quartz wedge between crossed polars in polychromatic light produces a range of colours. This colour chart is referred to as the Michel Levy Chartand may be found as Plate I in Nesse.

At the thin edge of the wedge the thickness and retardation are ~ 0, all of the wavelengths of light are cancelled at the upper polarizer resulting in a black colour.

With increasing thickness, corresponding to increasing retardation, the interference colour changes from black to grey to white to yellow to red and then a repeating sequence of colours from blue to green to yellow to red. The colours get paler, more washed out with each repetition.

In the above image, the repeating sequence of colours changes from red to blue at retardations of 550, 1100, and 1650 nm. These boundaries separate the colour sequence into first, second and third order colours.

Above fourth order, retardation > 2200 nm, the colours are washed out and become creamy white.

The interference colour produced is dependant on the wavelengths of light which pass the upper polar and the wavelengths which are cancelled.

The birefringence for a mineral in a thin section can also be determined using the equation for retardation, which relates thickness and birefringence.

Retardation can be determined by examining the interference colour for the mineral and recording the wavelength of the retardation corresponding to that colour by reading it directly off the bottom of Plate I. The thickness of the thin section is ~ 30 µm. With this the birefringence for the mineral can be determined, using the equation:

See the example below.

This same technique can be used by the thin section technician when she makes a thin section. By looking at the interference colour she can judge the thickness of the thin section.

The recognition of the order of the interference colour displayed by a mineral comes with practice and familiarity with various minerals. In the labs you should become familar with recognizing interference colours.

Read Section on Page 46 in text on recognizing Interference Colour Order.

## EXTINCTION

Now we want to examine other properties of minerals which are useful in the identification of unknown minerals.

Anisotropic minerals go extinct between crossed polars every 90° of rotation. Extinction occurs when one vibration direction of a mineral is parallel with the lower polarizer. As a result no component of the incident light can be resolved into the vibration direction of the upper polarizer, so all the light which passes through the mineral is absorbed at the upper polarizer, and the mineral is black.

Upon rotating the stage to the 45° position, a maximum component of both the slow and fast ray is available to be resolved into the vibration direction of the upper polarizer. Allowing a maximum amount of light to pass and the mineral appears brightest.

The only change in the interference colours is that they get brighter or dimmer with rotation, the actual colours do not change.

Many minerals generally form elongate grains and have an easily recognizable cleavage direction, e.g. biotite, hornblende, plagioclase.

The extinction angle is the angle between the length or cleavage of a mineral and the minerals vibration directions.

The extinction angles when measured on several grains of the same mineral, in the same thin section, will be variable. The angle varies because of the orientation of the grains. The maximum extinction angle recorded is diagnostic for the mineral.

### Types of Extinction

- Parallel Extinction
The mineral grain is extinct when the cleavage or length is aligned with one of the crosshairs.
The extinction angle (EA) = 0°
e.g.

  - orthopyroxene

  - biotite

- Inclined Extinction
The mineral is extinct when the cleavage is at an angle to the crosshairs.
EA > 0°
e.g.

  - clinopyroxene

  - hornblende

- Symmetrical Extinction
The mineral grain displays two cleavages or two distinct crystal faces. It is possible to measure two extinction angles between each cleavage or face and the vibration directions. If the two angles are equal then Symmetrical extinction exists.
EA1 = EA2
e.g.

  - amphibole

  - calcite

- No Cleavage
Minerals which are not elongated or do not exhibit a prominent cleavage will still go extinct every 90° of rotation, but there is no cleavage or elongation direction from which to measure the extinction angle.
e.g.

  - quartz

  - olivine

### Exceptions to Normal Extinction Patterns

Different portions of the same grain may go extinct at different times, i.e. they have different extinction angles. This may be caused by chemical zonation or strain.

Chemical zonation

The optical properties of a mineral vary with the chemical composition resulting in varying extinction directions for a mineral. Such minerals are said to be zoned.
e.g. plagioclase, olivine

Strain

During deformation some grains become bent, resulting in different portions of the same grain having different orientations, therefore they go extinct at different times.
e.g. quartz, plagioclase

## ACCESSORY PLATES

The accessory plates allow for the determination of the FAST (low n) and SLOW (high n) rays which exit from the mineral being examined.

The plates consist of pieces of quartz, gypsum or muscovite mounted in a holder so that the vibration directions of the mineral piece are parallel to the long and short axis of the holder.

Consider a mineral grain lying on the stage such that its vibration directions are in the 45° position.

The light passing through the mineral is split into two rays, with the slow ray retarded behind the fast ray upon exiting the grain, retardation = D1.

The accessory plate, gypsum plate, has a constant thickness and therefore a constant retardation, DA.

If the accessory plate is superimposed over the mineral so that the slow ray vibration directions are parallel, then the ray that is the slow ray exiting the mineral is the slow ray in the accessory plate and it is further retarded.

The result is a higher total retardation

D1 + DA = D2

The two rays when they reach the upper polar result in a higher order of interference colour, the total retardation is higher and lies to the right of the original colour on the interference colour chart.

Rotating the mineral 90° results in the fast ray vibration direction of the mineral being parallel to the slow ray vibration direction of the accessory plate.

The ray which was the slow ray in the mineral becomes the fast ray in the accessory plate.

The result is that the accessory plate cancels some of the retardation produced by the mineral, the total retardation:

D1 - DA = D3

The interference colour produced at the upper polar is a lower order colour.

All accessory plates used are constructed such that the slow vibration direction is across the width of the plate, the fast vibrations direction is parallel to the length.

Accessory Plates are inserted into the microscope between the objective lens and the upper polar, in the 45° position.

- Gypsum Plate (First Order Red Plate)

  - Become familiar with this plate, it produces ~550 nm of retardation. The interference colour in white light is a distinct magenta colour. This colour is found at the boundary between first and second order colours on Plate 1.

- Mica Plate

  - Retardation of 147 nm, the interference colour is a first order white.

- Quartz Wedge

  - Wedge shaped and produces a range of retardations.

## VIBRATION DIRECTIONS IN A MINERAL

To Determine the Vibration Direction in a Mineral.

- Rotate the grain on the stage to extinction. In this position the vibrations directions of the grain are parallel to the crosshairs of the microscope which are themselves parallel to the polarization directions of the microscope.

- Rotate the stage 45°, clockwise. The vibration direction that was parallel to the NS crosshair is now aligned NE-SW. The grain should be brightly illuminated at this point. Note the interference colour exhibited by the grain and locate this colour on Plate 1 and record its retardation.

- Insert the Gypsum Plate. The slow ray vibration direction of the plate is aligned NE-SW. Is the interference colour now exhibited by the grain higher or lower than the recorded in step 2, i.e. has the colour moved up (to the right) or down (to the left) by 550 nm.

- If the colour increased, went up the chart, then the slow ray in the accessory plate is parallel to the slow ray in the mineral grain. If the colour decreased, went down the chart, then the slow ray of the accessory plate is parallel with the fast ray of the grain.

## SIGN OF ELONGATION

In the mineral descriptions found in the text book the terms LENGTH FAST and LENGTH SLOW are encountered.

Length fast means that the fast ray of the mineral vibrates parallel with the length of the elongate mineral or parallel to the singel cleavage, if present. This is also referred to as NEGATIVE ELONGATION, as the overall total retardation is less than that exhibited by the mineral prior to the accessory plate being inserted.

Length slow means that the slow ray of the mineral vibrates parallel with the length of the mineral or the single cleavage, if present - POSITIVE ELONGATION, the total overall retardation is greater than that exhibited prior to the accessory plate being inserted.

Only minerals which have an elongate habit exhibit a sign of elongation.

## RELIEF AND PLEOCHROISM

### Relief

Minerals which display moderate to strong birefringence may display a change in relief as the stage is rotated, in plane light.

This change in relief results from the two rays which exit the mineral having widely differing refractive indices - examine in Lab 2.

### Pleochroism

With the upper polar removed, many coloured anisotropic minerals display a change in colour - this is pleochroism or diachroism.

Produced because the two rays of light are absorbed differently as they pass through the coloured mineral and therefore the mineral displays different colours. Pleochroism is not related to the interference colours

### Uniaxial Minerals

## UNIAXIAL OPTICS

Uniaxial minerals have only one optic axis, and belong to the hexagonal and tetragonal systems.

Minerals in this group include:

- nepheline NaAlSiO4

- apatite Ca5(PO4)3(F,Cl,OH)

- calcite CaCO3

- dolomite (Ca,Mg)CO3

- quartz SiO2

- zircon ZrSiO4

- tourmaline - borosilicate

In the last lab you examined the calcite rhomb and the two rays formed by the light travelling through the rhomb, with each ray corresponding to a different RI of the calcite.

On rotating the calcite rhomb one dot remained stationary but the other dot rotated with the calcite about the stationary dot.

- The ray corresponding to the image which moved is called the Extraordinary Ray - epsilon.

- The ray corresponding to the stationary image, which behaves as though it were in an isotropic mineral is called the Ordinary Ray - omega.

The vibration direction of the ordinary ray lies in the {0001} plane of the calcite and is at right angles to the c-axis.

The extraordinary ray vibrates perpendicular to the ordinary ray vibration direction in the plane which contains the c-axis of the calcite.

If instead of using a calcite rhomb we had used a slab of calcite which had been cut in a random orientation and placed that on the dots, two images would still appear.

If the random cuts were such that they were perpendicular to the c-axis, then light travelling through the calcite, along the c-axis would produce only one image andwould not become polarized.

The c-axis coincides with the optic axis, which is the direction through the mineral along which light propogates without being split into two rays.

For calcite,

- The index of refraction for the ordinary ray is uniform nomega = 1.658, regardless of the direction through the grain that the light follows.

- The index of refraction for the extraordinary ray, nepsilon, is variable ranging from 1.486 to 1.658. The index is dependant on the direction that the light travels through the mineral.

  - If light travels perpendicular to c-axis, nepsilon = 1.486.

  - If the light travels along the the c-axis, nepsilon = 1.658.

  - For intermediate directions through the grain nepsilon will fall between the two extremes.

Calcite is used as an example of the formation of the two rays because of the large difference between the refractive indices (birefringence (delta)).

- for calcite, delta = 0.172.

For minerals with a lower birefringence, e.g. quartz, delta = 0.009, the two images are still produced but show very little separation. The quartz would have to be 20-25X as thick as the calcite to see the same separation of the dots.

## UNIAXIAL OPTIC SIGN

In Calcite nomega > nepsilon, 1.658 versus 1.485. In other minerals, e.g. quartz, nomega < nepsilon , 1.544 versus 1.553.

This difference in this refractive index relationship provides the basis for defining the optic sign of uniaxial minerals.

- Optically positive uniaxial minerals nomega < nepsilon

- Optically negative uniaxial minerals nomega > nepsilon

Alternatively,

- if extrordinary ray is the slow ray, then the mineral is optically positive.

- if extraordinary ray is the fast ray, then the mineral is optically negative.

nepsilon refers to the maximum or minimum index of refraction for the extraordinary ray, the value recorded in the mineral descriptions in the text.

nepsilon' refers to an index of refraction for the extraordinary ray which is between nomega and nepsilon.

For uniaxial minerals any orientation will provide nomega, but only one orientation, cut parallel to the c-axis will yield nepsilon maximum. This orientation is the one which exhibits the highest interference colour as delta (birefringence), is greatest, and therefore retardation (DELTA) is greatest.

(DELTA = d(ns-nf))

## LIGHT PATHS THROUGH UNIAXIAL MINERALS

nepsilon refers to the maximum or minimum index of refraction for the extraordinary ray, the value recorded in the mineral descriptions in the text.

nepsilon' refers to an index of refraction for the extraordinary ray which is between nomega and nepsilon.

For uniaxial minerals any orientation will provide nw, but only one orientation, cut parallel to the c-axis will yield nepsilon maximum. This orientation is the one which exhibits the highest interference colour as delta (birefringence), is greatest, and therefore DELTA (retardation) is greatest

(DELTA = d(ns-nf))

Hexagonal and tetragonal systems are characterized by a high degree of symmetry about the c-axis. Within the 001 or 0001 plane, at 90° to the c-axis, uniform chemical bonding in all directions is encountered.

Light Paths Through a Mineral

Light travelling along the c-axis is able to vibrate freely in any direction within the 001 or 0001 plane.

No preferred vibration direction allows light to pass through the mineral as if it were isotropic, this orientation has the lowest interference colour - black to dark grey.

If the light passes at some angle to the c-axis, it encounters a different electronic configuration and is split into two rays of different velocities.

The vibration vector of the ordinary ray is parallel to the 001 or 0001 plane, i.e. perpendicular to the c-axis. The extraordinary ray vibrates across these planes, parallel to the c-axis.

The ordinary ray has the same velocity regardless of the path it takes, because it always vibrates in the same electronic environment.

The extraordinary ray velocity varies depending on the direction. If the light travels nearly parallel to the c-axis, the extraordinary ray vibrates ~ parallel to 001 or 0001, so that nepsilon'~nomega.

If the light travels at right angles to the c-axis, the extraordinary ray vibrates across the 001 or 0001 plane and nepsilon is most different from nomega.

For intermediate angles to the c-axis:

- nomega > nepsilon'

- and, nepsilon' > nepsilon.

Whether the extraordinary ray has a higher or lower RI than the ordiniary ray depends on the chemical bonding and the crystal structure.

In the lab you will determine the indices of refraction for a uniaxial mineral using grain mounts and the immersion method

## UNIAXIAL INDICATRIX

The indicatrix is a geometric figure, constructed so that the indices of refraction are plotted as radii that are parallel to the vibration direction of light.

In isotropic minerals the indicatrix was a sphere, because the refractive index was the same in all directions.

In uniaxial minerals, because nomega and nepsilon are not equal, the indicatrix is an ellipsoid, the shape of which is dependant on its orientation with respect to the optic axis. In positive uniaxial minerals, the Z indicatrix axis is parallel to the c-crystallographic axis and the indicatrix is a prolate ellipsoid, i.e. it is stretched out along the optic axis.

All light travelling along the Z axis (optic axis), has an index of refraction of nomega, whether it vibrates parallel to the X or Y axis, or any direction in the XY plane.

Light travelling along the X axis is split into two rays, the ordinary and extraordinary rays,

- omega vibrates parallel to the Y axis, nomega is plotted along Y

- epsilon vibrates parallel to the Z axis, nepsilon is plotted along Z.

The XZ and the YZ planes through the indicatrix are identical ellipses with nomega and nepsilon as their axes, with the radii of the ellipses equal to the magnitude of the RI for the ray.

Plotting the indices of light travelling in all directions produces the prolate ellipsoid, whose axis of revolution is the optic axis, for uniaxial positive minerals;

nomega < nepsilon.

For optically negative minerals the X indicatrix axis corresponds to the optic axis and the indicatrix is an oblate ellipsoid, i.e. flattened along the optic axis, and

nomega > nepsilon

In each case, for positive and negative minerals the circular section through the indicatrix is perpendicular to the optic axis and has a radius = nomega.

The radius of the indicatrix along the optic axis is always nepsilon.

Any section through the indicatrix which includes the optic axis is called a principal section, and produces an ellipse with axes nomega and nepsilon.

A section through the indicatrix perpendicular to the optic axis produces a circular section with radius nomega.

A random section through the indicatrix will produce an ellipse with axes nomega and nepsilon'.

The indicatrix is oriented so that the optic axis is parallel to the c crystallographic axis.

### Random Section Vibration Directions

Random section through the uniaxial indicatrix will give nomega and nepsilon'.

Light travelling from the origin of the indicatrix outwards, construct a wave normal to the wave front.

A slice through the centre of the indicatrix, perpendicular to the wave normal forms an ellipse with axes of nomega and nepsilon'.

- omega vibrates at 90° to the optic axis = short axis of the ellipse

- epsilon' vibrates parallel to the optic axis = long axis of the ellipse.

The magnitude of the axes = nomega and nepsilon'.

## BIREFRINGENCE AND INTERFERENCE COLOURS

Birefringence, difference between the index of refraction of the slow and fast rays and the interference colours for uniaxial minerals is dependant on the direction that light travels through the mineral.

- In a sample which has been cut perpendicular to the optic axis, the bottom and top surfaces will be parallel. The angle of incidence for the light entering the crystal = 0° and the wave front are not refracted at the interface and remain parallel to the mineral surface.

  - A cut through the indicatrix, parallel to the bottom of the mineral, will yield the indices and vibration directions of the light. A slice through the indicatrix is a circular section, with radius nomega.

  - No preferred vibration direction, so light passes along the optic axis as an ordinary ray and retains whatever vibration direction it had originally.

  - Between crossed polars the light passing through the mineral is completely absorbed by the upper polar and will remain black on rotation of the stage, The birefringence = 0.

- Cutting the sample such that the optic axis is parallel to the surface of the section the following is observed.

  - The indicatrix section is a principle section, as it contains the optic axis. The indicatrix forms an ellipse with axes = nomega and nepsilon, with the incident light being split into two rays such that:

    - the ordinary ray vibrates perpendicular to the optic axis,

    - the extraordinary ray vibrates parallel to the optic axis.

  - The birefringence is at a maximum, and in thin section this grain orientation will display the highest interference colour.

- A mineral cut in a random orientation, with normally incident light;

  - The ordinary ray produced has an index, nomega and vibrates perpendicular to the optic axis.

  - The extraordinary ray has an index nepsilon' and vibrates in the plane containing the optic axis.

  - nepsilon' < nomega maximum or minimum, the birefringence is intermediate between the two extremes.

## EXTINCTION IN UNIAXIAL MINERALS

Uniaxial minerals will exhibit all four types of extinction discussed earlier.

The type is dependent on:

- the orientation that the mineral is cut

- the presence of cleavage(s) in the grain

#### Tetragonal minerals

- Zircon ZrSi04- poor prismatic

- Rutile Ti02 - good prismatic

  - are prismatic and either elongate or stubby II to c axis.

  - display prismatic (parallel to c)

  - or pinacoidal (perpendicular to c) cleavage.

Depending on how the crystal is cut, and how its indicatrix is cut, dictates what will be seen in thin section.

#### Hexagonal Minerals

- Quartz - SiO2 - no cleavage

- Apatite - Ca5(PO4)3(F,C1,OH) - rare pinacoidal, prism

- Calcite - CaC03 - 1 of two cleavages rhombohedral

- Nepheline - NaAlSiO4 - no cleavage

Hexagonal minerals will exhibit the following forms prisms, pinacoids, pyramids and rhombohedrons which will exhibit prismatic, pinaciodal and rhombohedral cleavages.

The birefringence, interference colours and any cleavage displayed by hexagonal minerals is a function of how the grain has been cut.

Read Page 60 to 65 in text on Extinction

## PLEOCHROISM IN UNIAXIAL MINERALS

Pleochroism is defined as the change in colour of a mineral, in plane light, on rotating the stage. It occurs when the wavelengths of the ordinary & extraordinary rays are absorbed differently on passing through a mineral, resulting in different wavelengths of light passing the mineral.

Coloured minerals, whether uniaxial or biaxial, are generally pleochroic.

To describe the pleochroism for uniaxial minerals must specify the colour which corresponds to the ordinary and extraordinary rays.

- e.g. Tourmaline, Hexagonal mineral

  - omega = dark green

  - epsilon = pale green

If the colour change is quite distinct the pleochroism is said to be strong.

If the colour change is minor = weak pleochroism.

For coloured uniaxial minerals, sections cut perpendicular to the c axis will show a single colour, corresponding to ordinary ray.

Sections parallel to the c crystallographic axis will exhibit the widest colour variation as both omega and epsilon are present.

## OBTAINING AN INTERFERENCE FIGURE

Now come to the major means of distinguishing whether an anisotropic mineral is uniaxial or biaxial and for determining the optic sign for an anisotropic minerals - THE INTEFERENCE FIGURE.

To obtain and observe an interference figure using the microscope.

- With high power, focus on a mineral grain free of cracks and inclusions

- Flip in the auxiliary condensor and refocus open aperture diaphragm up to its maximum.

- Cross the polars

- Insert the Bertrand lens or remove the ocular and look down the microscope tube.

Will not see the grain, but the interference figure, which appears on the top surface of the objective lense.

The interference figure consists of a pattern of interference colours and a black band which may form a cross. Nature and pattern for the figure is dependent on the orientation of the grain.

For Uniaxial Minerals three types of interference figures will be considered.

- Optic Axis Figure - OA vertical

- Off Centred Optic Axis Figure - OA inclined.

- Flash Figure - OA horizontal

Each figure type is a direct reflection of the different cuts through the indicatrix.

## OPTIC AXIS INTERFERENCE FIGURE

If the optic axis of the mineral is vertical, the grain will exhibit 0 birefringence and remain black or nearly black upon rotating the stage.

The interference figure produced by such a grain is a centred optic axis figure which consists of a centred black cross superimposed on circular bands of interference colours.

The cross is formed of black bars - isogyres, point where the two isogyres cross is the melatope and marks the point where the optic axis emerges.

Interference colours increase in order outward from the melatope, near melatope colours are low first order Each colour band is called an isochrome.

If the optic axis is vertical the interference figure for the mineral does not move as the stage is rotated.

Isochromes form and are exhibited by the interference figure due to varying retardation of convergent light rays on the sample.

## FORMATION OF ISOCHROMES

Light is convergent because auxiliary condensor produces a cone of light which is focused on the sample, it passes through the sample and is collected by the objective lens.

- Light which travels along the optic axis is not split into two rays, nepsilon' = nomega, and exits the mineral to form the melatope. No retardation "between" rays.

- Light following paths 2 & 4 experience moderate retardation
nepsilon' < nomega ~ 550 nm

- Light following paths 3 & 5 experience moderate retardation
nepsilon' << nomega ~ 1100 nm because light makes a larger angle with optic axis and must take a longer path through the sample.

Optic axis is vertical and optical properties vary symmetrically about the optic axis, rings of equal retardation are produced around the melatope = isochromes.

Number of isochromes depends on retardation and the thickness of the sample.

Simplified, ignored the splitting of light into its two component rays, each of which refract differently.

## FORMATION OF ISOGYRES

Isogyres form when the vibration directions in the interference figure parallel the vibration directions of the polars. These are areas of extinction.

In the uniaxial indicatrix the ordinary rays vibrate perpendicular to the optic axis and are analogous to lines of latitude on the surface of the indicatrix. They vibrate as tangents to the circular isochromes.

Extraordinary rays vibrate parallel to the optic axis and are analogous to lines of longitude on the indicatrix surface and vibrate along radial lines from melatope outwards.

Once the interference figure has been obtained and identified as to whether it is uniaxial or biaxial, the optic sign of the mineral can be determined using an accessory plate, either gypsum, quartz or mica.

## OPTIC SIGN DETERMINATION

Once the interference figure has been obtained and identified as to whether it is uniaxial or biaxial, the optic sign of the mineral can be determined using an accessory plate, either gypsum, quartz or mica.

The optic sign tells us whether the ordinary ray corresponds to the fast or slow ray.

| omega = Fast | Optically Positive | epsilon = Slow |
| --- | --- | --- |
| omega = Slow | Optically Negative | epsilon = Fast |

To determine optic sign of a uniaxial mineral:

- Obtain an optic axis interference figure.
one that is centred in field of view

- Insert accessory plate into the light path.

- Observe the interference colours:

  - in two quadrants the colours increase, move to the right,

  - in other two quadrants the colours decrease, move to the left.

- Look at the NE quadrant of the interference figure.

### INTERPRETATION

In the centred uniaxial optic axis interference figure, remember;

- omega vibrates parallel to isochromes

- epsilon vibrates radially from centre

The accessory plate vibration direction is NE - SW, and corresponds to slow direction of plate. It is parallel to extraordinary ray vibration direction in NE Quadrant of the interference figure.

Examining the NE quadrant of the interference figure, two possibilities may occur:

- The interference colours will increase, move to the right on the colour chart, when the accessory plate is inserted. This tells us that the extraordinary ray, of the mineral, must be the slow ray and therefore the mineral is optically positive.

- The interferecne colours will decrease, move to the left on the colour chart, when the accessory palte is inserted. This tells us that the extraordinary ray, of the mineral, must be the fast ray and therefore the mineral is optically negative.

The SW quadrant og the interference figure will exhibit the same colour changes, observed in the NE quadrant because omega and epsilon vibration directions are the same.

The NW & SE quadrants exhibit the reverse colour changes.

Gypsum Plate is used to determine the optic sign, provided not too many isochromes are present.

### OPTIC SIGN USING THE GYPSUM PLATE

Under crossed polars, without the gypsum plate, a first order grey interference colour has a retardation of approximately 200 nm.

This first order grey colour, on inserting the gypsum plate, will either;

- Increase to second order blue-green, the colour shown on the left below,
(200 + 550 =750 nm)
giving a total retardation = 750 nm
or

- Decrease to first order yellow, the colour shown on the right below,
(200-550 |-350| nm)
giving a total retardation = 350 nm.

The blue or green colour results from the addition of the slow vibration direction of plate to the slow vibration direction of mineral.

The yellow colour results from the subtraction of the slow vibration direction of plate from the fast vibration direction of mineral.

### OPTIC SIGN USING THE QUARTZ WEDGE

If the interference figure displays numerous isochromes colour changes produced with the gypsum plate become difficult to detect. In this case the quartz wedge is used.

Inserting the Qtz wedge results in the movement of the isochromes about the isogyres.

In quadrants where the colours subtract, i.e. where the fast ray of the mineral is parallel to slow ray direction of the quartz wedge, the isochromes move outward as lower order colours form near the melatope and displace higher order colours.

In quadrants where the colours add, where the slow ray of the mineral is parallel to the slow ray of the quartz wedge, the isochromes move inwards, towards the melatope.

The isogyre, on insertion of the accessory adopts the interference colour corresponding to the retardation of the accessory

## OFF CENTRED OPTIC AXIS FIGURE

The interference figure is produced when the optic axis is not vertical, resulting in the interference figure, i.e. the melatope, no longer being centred in the field of view.

The isogyres still form a cross, with the melatope at the centre.

Because the figure is off centred, the melatope (optic axis) does not appear in the field of view, on rotation the melatope swings in a circle around the center of the field of view.

Isogyres will retain their basic NS & EW orientations and sweep across the field of view centred on the melatope, always moving parallel to the crosshairs.

If the melatope is just in the field of view the optic sign can easily be determined, using the technique outlined above.

If the melatope is well outside the field of view the isogyres sweep across the field of view in sequence as the stage is rotated - with the isogyres always remaining parallel to the crosshairs.

By noting the direction and sequence of how the isogyres pass through the field of view, as the stage is rotated, it is possible to identify which quadrant is being viewed and therefore the optic sign may be determined, knowing the vibration directions of omega & epsilon, in the NE quadrant of the interference figure.

A grain which produces an off centred optic axis figure will exhibit a birefringence intermediate to the maximum and minimum birefringence for that mineral in the thin section.

## FLASH FIGURE

A mineral grain is oriented with it's optic axis horizontal. This orientation exhibits the maximum birefringence, for this mineral in the thin section, and produces a flash figure.

The flash figure results because the vibration directions, of the indicatrix, within the field of view are nearly parallel to polarisation directions of the microscope.

- extraordinary rays vibrate parallel to optic axis

- ordinary rays vibrate perpendicular to optic axis

With the grain at extinction the optic axis is oriented either EW or NS in the resulting interference figure. The interference figure produced occupies most if not all of the field of view and consists of a very broad, fuzzy isogyres cross.

Upon rotating the stage, < 5° rotation, the isogyres will split and move out of the field of view in opposite quadrants.

The quadrants into which the isogyres move correspond to the quadrants into which the optic axis is moving, as the stage is being rotated.

With the optic axis in the 45° position, no isogyres will be present, and the field of view may exhibit some interference colours. Isochromes, if present, will be concave outward.

The colour in the centre of the field of view is the normal interference colour for that mineral under crossed polars.

In quadrants which contain the optic axis, the interference colours decrease away from the centre.
In remaining two quadrants the interference colours increase away from centre.

The number of isochromes observed is dependant on the thickness of the thin section and the birefringence of the specific mineral.

If the central portion of the figure in the 45° position is white, the optic axis quadrants will be first order grey, other quadrants will be pale first order yellow.

Optic sign can be determined using flash figure, but it is not definitive.

Biaxial minerals will also produce a flash figure. It is better to look for a centred or off centred figure, either uniaxial or biaxial to determine the optic sign of the unknown mineral.

## SUMMARY OF UNIAXIAL INTERFERENCE FIGURES

#### Optic axis Figure

The thin section is perpendicular to the c axis = optic axis.
The mineral appears isotropic, or nearly isotropic under crossed polars, exhibiting a very low first order grey to black interference colour.

#### Off centred Optic Axis Figure

The c axis (optic axis) is not vertical, but inclined from the vertical axis of the microscope.
Will only see isogyre in the field of view at a time, which will sweep out of the field of view parallel to one crosshairs to be replaced by a new isogyre which sweeps into the field of view parallel to the other crosshair.
This orientation will exhibit an intermediate colour, between the lowest and highest colour exhibited by this mineral in the thin section being examined.

#### Flash Figure

The c axis is parallel to stage.
The isogyres split and leave field of view rapidly with only a slight rotation, <10°.
The maximum interference colour will be observed under crossed polars.

#### Sign determination

- + ve nomega<nepsilon
slow ray = epsilon, fast ray = omega

- - ve nomega>nepisilon
slow ray = omega, fast ray = epsilon.

Interpretation of Uniaxial Interference Figures

# APATITE

| General Formula: Ca5(PO4)3(F,OH,Cl) | Sample: PT-10C | System: Hexagonal |
| --- | --- | --- |
| Hexagonal and elongated Apatite needles Fine grained hexagonal and elongated needles of apatite included in plagioclase and clinopyroxene within an olivine diabase. The long axis of the image is 0.9 mm, plane light view | Hexagonal and elongated Apatite needles The hexagonal grains are cross sections of apatite needles, cut perpendicular to the long axis which also corresponds to the c crystallographic axis and the optic axis, thus the needles appear black. The long axis of the image is 0.9 mm,crossed polar view | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | usually colourless non pleochroic in thin section | Form | small euhedral to subhedral elongate prismatic crystals with hexagonal cross sections are most common, also found as anhedral grains and granular or columnar aggregates |
| --- | --- | --- | --- |
| Relief/ RI | moderate high positive nw = 1.633-1.667 ne = 1.629-1.665 | Cleavage | poor basal and prismatic, not readily visible in thin section |
| Birefringence Interference Colours | 0.001 - 0.007 first order grey | Twinning | rare |
| Interference Figure Optic Sign 2V | uniaxial negative | Optic Orientation | elongate sections show parallel extinction and are length fast |
| Composition | widest variation in composition is associated with the hydroxyl site, e.g. F for OH for Cl | Alteration | stable in most geologic environments |
| Occurrence | present as an accessory in a wide variety of igneous and metamorphic rocks and as detrital grains in sedimentary rocks | Distinguishing Features | moderate to high relief, low birefringence and uniaxial character |

# CALCITE

| General Formula: CaCO3 | Sample: M-24 | System: Hexagonal (trigonal) |
| --- | --- | --- |
| Calcite Irregular calcite crystals within a marble. Note the rhombohedral cleavage displayed by the grain just left of center. Field of View = 2.7 mm, plane light | Calcite Extreme inteference colours of calcite and the presence of twinning in the top right grain. Field of View = 2.7 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | colourless non pelochroic | Form | variety of habits, but usually coinsist of scalenohedron and rhombohedron combinations. In most rocks calcite forms anhedral grains or grain aggregates |
| --- | --- | --- | --- |
| Relief RI | moderate negative to high positive, marked change with stage rotation nw = 1.658 ne = 1.486 | Cleavage | perfect rhombohedral cleavage, angle between cleavages 74°57' |
| Birefringence Interference Colours | 0.172 extreme, creamy high order colours | Twinning | lamellar twins parallel to one edge of the cleavage rhomb or along the long diagonal of the rhomb |
| Interference Figure Optic Sign 2V | uniaxial negative | Optic Orientation | extinction is inclined or symmetrical to cleavage traces, the fast ray is parallel to the short diagonal of the rhombohedral faces |
| Composition | dominantly CaCO3, but substitution of Mg, Fe, Mn, or Zn and minor Sr and Ba | Alteration | altered to dolomite during diagenesis, calcite is soluble in natural waters and may be removed by solution |
| Occurrence | common and widespread as a major mineral in limestones, and an accessory in igneous, metamorphic and sedimentary rocks | Distinguishing Features | cleavage, variable relief, extreme interference colours |

# NEPHELINE

| General Formula: Na3K(Al4Si4O16) | Sample: Nepheline Syenite | System: Hexagonal |
| --- | --- | --- |
| TITLE DESCRIPTION SCALE | TITLE DESCRIPTION SCALE | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | colourless non pleochroic | Form | anhedral to sudhedral in intrusive rocks, subhedral to euhedral in extrusive rocks |
| --- | --- | --- | --- |
| Relief RI | low negative to low positive nw = 1.529-1.546 ne = 1.526-1.544 | Cleavage | rarely seen in thin section, irregular fractures |
| Birefringence Interference Colours | 0.003 - 0.005 first order grey | Twinning | not observed |
| Interference Figure Optic Sign 2V | uniaxial negative | Optic Orientation | longitudinal sections through euhedral crystals as length fast, with parallel extinction |
| Composition | most nepheline has a 3:1 ratio of Na:K. At high temperatures complete solid solution exists between pure nepheline (100% Na) and kalsilite (100% K) | Alteration | alters to clay minerals, analcime, sodalite, calcite, and cancrinite |
| Occurrence | common in syenite, nepheline syenite and related alkalic rocks. Nepehiline is never associated with primary quartz. | Distinguishing Features | low relief, looks like quartz but may be altered and is uniaxial negative |

# QUARTZ

| General Formula: SiO2 | Sample: M-20 | System: Hexagonal (trigonal) |
| --- | --- | --- |
| Orthoquartzite Subrounded quartz grains cemented in a matrix of silica. The grain boundaries are clearly marked by the fine grained inclusions. Field of View 2.7 mm, plane light | Orthoquartzite Note the variety of orientations present in the randomly oriented quartz grains. Field of View 2.7 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | colourless non-pleochroic | Form | typically anhedral to highly irregular in igneous and metamorphic rocks. Detritial grains are are more or less equant. |
| --- | --- | --- | --- |
| Relief/ RI | low positive relief nw = 1.544 ne = 1.553 | Cleavage | not observed |
| Birefringence Interference Colours | 0.009 Maximum interference colour range up to first order white, with a tinge of yellow | Twinning | non observed |
| Interference Figure/ Optic Sign 2V | unixial positive, but strained displaying undulatory extinction may show a biaxial interference figure with a small separation of the isogyres. | Optic Orientation | optic axis is the c axis. Elongate crystals cut from end to end are length slow. |
| Composition | essentially pure SiO2, although trace amounts of Ti, Fe, Mn, Al may be present. | Alteration | not readily altered and is very stable in weathering environments. |
| Occurrence | one of the most widely abundant minerals, present in a wide variety of environments. | Distinguishing Features | low relief, low birefringence, lack of cleavage, uniaxial positive. |

# TOURMALINE

| General Formula: Na(Mg,Fe,Li,Al)3Al6(Si6O18)(BO3)3(OH,F)4 | Sample: PT-123 | System: Hexagonal (trigonal) |
| --- | --- | --- |
| Radiating Tourmaline The range of pleochroic colours displayed by the radiating tourmaline crystals is evident. Note that the grains exhibit their lightest and darkest pleochroic colour when the long axis is parallel and perpendicluar, respectively, to the lower polar vibration direction (N-S). Field of View 2.7 mm, plane light | Radiating Tourmaline The extinction of the individual grains varies across the grain aggregate, when the long axis is parallel to the polars the grain is extinct. Field of View 2.7 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | highly variable, blue, green, pink, yellow stongly pleochroic with w > e, basal sections are uniformly dark. | Form | euhedral, stubby columnar to acicular crystals with a rounded triangular to crudely hexagonal cross section |
| --- | --- | --- | --- |
| Relief RI | moderate to high positive nw = 1.631-1.968 ne = 1.610-1.675 | Cleavage | poorly developed, fractures are conchoidal |
| Birefringence Interference Colours | 0.015-0.035 up to upper second order, but commonly masked by mineral's colour | Twinning | rare |
| Interference Figure Optic Sign 2V | uniaxial negative | Optic Orientation | longitudinal sections show parallel extinction and are length fast |
| Composition | highly variable, RI and birefringence increase generally with increasing Fe | Alteration | fairly stable in weathering environments |
| Occurrence | characteristic mineral in granites and related rocks, in schists, gneisses and phyllites and as a detrital mineral | Distinguishing Features | crystal habit, distinct pleochrosm. Tourmaline exhibits its darkest pleochroic colour when the long axis of the grain is aligned perpendicular to the lower polar. |

# ZIRCON

| General Formula: ZrSiO4 | Sample: GB 12 | System: Tetragonal |
| --- | --- | --- |
| Zircon Euhedral zircon grain within a granitic gneiss. Note the highly fractured nature of the grain and the very strong relief. Field of View 1 mm, plane light | Zircon The same image as that on the left, the high interference colours of the zircon grain are not readily evident in this image, Field of View 1 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | colourless to pale brown weakly pleochroic | Form | euhedral to sudhedral tetragonal crystals with pyramidal terminations |
| --- | --- | --- | --- |
| Relief RI | very high positive nw = 1.920-1.960 ne = 1.967-2.015 | Cleavage | not usually seen in thin section |
| Birefringence Interference Colours | 0.036-0.065 up to third or fourth order | Twinning | not twinned |
| Interference Figure Optic Sign 2V | uniaxial positive | Optic Orientation | elongate grains are length slow with parallel extinction |
| Composition | significant Hf for Zr and minor U and Th | Alteration | does not readily alter |
| Occurrence | common accessory mineral in felsic rocks and less common in mafic rocks, common in metamorphic rocks derived from clastic sediments, common detritial mineral | Distinguishing Features | small, high-relief grains with bright interference colours |

##### Biaxial Minerals

## BIAXIAL MINERALS

Include orthorhombic, monoclinic and triclinic systems, all exhibit less symmetry than uniaxial and isotropic minerals.

Minerals in these crystal systems exhibit variable crystal structure, resulting in variable chemical bonding.

The crystallographic properties of orthorhombic, monoclinic and triclinic minerals are specified by means of the unit cell measured along the three crystallographic axes.

It is also necessary to specify 3 different indices of refraction for biaxial minerals:

nalpha, nbeta, ngamma are used in text.

where nalpha < nbeta < ngamma

A variety of other conventions have been used or suggested, make sure that you are aware of the convention used in the text you are using, if it is not Nesse.

The maximum birefringence of a biaxial mineral is defined by

(ngamma - nalpha)

Clarification

1) It takes 3 indices of refraction to describe optical properties of biaxial minerals, however, light that enters biaxial minerals is broken into two rays - FAST and SLOW.

2) Ordinary - extraordinary terminology is not used. Both rays behave as the extraordinary ray did in uniaxial minerals. The rays are both extraordinary and are referred to as SLOW RAY and FAST RAY.

  - nslow = ngamma' , between nbeta and ngamma (higher RI)

    - ngamma > ngamma' > nbeta

  - nfast = nalpha' , between nalpha and nbeta (lower RI)

    - nalpha < nalpha' < nbeta

## BIAXIAL INDICATRIX

The biaxial indicatrix is similar to the uniaxial indicatrix, except now there are three principal indices of refraction instead of two. The biaxial indicatrix is constructed by plotting the principal indices along 3 mutually perpendicular axes.

- nalpha plotted along X

- nbeta plotted along Y

- ngamma plotted along Z

again, nalpha < nbeta < ngamma
So that the length of X<Y<Z.

Indicatrix is a triaxial ellipsoid elongated along the Z axis, and flattened along the X axis.

Indicatrix has 3 principal sections, all ellipses:

- X - Y axes = nalpha & nbeta

- X - Z axes = nalpha & ngamma

- Y - Z axes = nbeta & ngamma

Random sections through the indicatrix also form ellipses.

The uniaxial indicatrix exhibited a single circular section, a biaxial indicatrix exhibits two circular sections with radius = nbeta; the circular sections intersect along the Y indicatrix axis, which also has a radius of nbeta.

Look at the X - Z plane in the above image.

The axes of the ellipse are = nalpha & ngamma.
The radii vary from nalpha through nbeta to ngamma.
Remember that nalpha < nbeta < ngamma, so a radii = nbeta must be present on the X - Z plane.
The length of indicatrix along the Y axis is also nbeta, so the Y axis and radii nbeta in X - Z plane defines a circular section, with radius nbeta.

In the biaxial indicatrix the directions perpendicular to the circular sections define the OPTIC AXES of the biaxial mineral. Optic axes lie within the X - Z plane, and this plane is the OPTIC PLANE.

The acute angle between the optic axes is the optic or 2V angle.

The indicatrix axis, either X or Z, which bisects the 2V angle is the ACUTE BISECTRIX or Bxa.

The indicatrix axis, either X or Z, which bisects the obtuse angle between the optic axes is the OBTUSE BISECTRIX or Bxo.

The Y axis is perpendicular to the optic plane and forms the OPTIC NORMAL.

## OPTIC SIGN

For biaxial minerals optic sign is dependant on whether the X or Z indicatrix axis is the acute bisectrix.

- if Bxa is X, mineral is -ve

- if Bxa is Z, mineral is +ve

In the special case where 2V = 90°, mineral is optically neutral.

Another convention used is to identify the angle between the optic axes bisected by the X axis as the 2VX angle; and the Z axis as 2VZ angle.

These two angles can vary from 0 to 180°, such that the following relationship holds:

2VX + 2VZ = 180°

Using this convention the optic sign is determined by the following:

- if 2VZ < 90°, the mineral is +ve.

- if 2VZ > 90°, the mineral is -ve.

Light travelling through biaxial minerals is split into two rays - FAST and SLOW rays which vibrate at 90° to each other.

The vibration directions of the FAST and SLOW rays are defined, or determined, by the axes of the ellipse or section through the indicatrix, which is oriented at 90° to the wave normal.

The Refractive Index corresponding to the FAST ray will be between nalpha and nbeta, and is referred to as nalpha'.

The Refractive Index corresponding to the SLOW ray will be between nbeta and & ngamma, and is referred to as ngamma'.

With this convention the following relationship will be true for all biaxial minerals:

- X - will always correspond to the fast ray and will have the lowest RI.

  - RI = nalpha, always fast

- Y - will be either the fast or the slow ray depending on which other indicatrix axis it is withand its refractive index will be between the lowest and highest RI for the mineral.

  - RI = nbeta, either fast or slow

- Z - will always correspond to the slow ray and will have the highest RI.

  - RI = ngamma, always slow.

## CRYSTALLOGRAPHIC ORIENTATION AND THE INDICATRIX

##### Biaxial interference figures

Biaxial interference figures are obtained the same way as uniaxial interference figures.

To obtain and observe an interference figure using the microscope.

- With high power, focus on a mineral grain free of cracks and inclusions

- Flip in the auxiliary condensor and refocus open aperture diaphragm up to its maximum.

- Cross the polars

- Insert the Bertrand lens or remove the ocular and look down the microscope tube.

Will not see the grain, but the interference figure, which appears on the top surface of the objective lense.

The appearence of the interference figure is dependant on the orientation of the mineral grain and its indicatrix.

We will examine 5 cases:

- Centred Acute Bisectrix

- Centred Biaxial Optic Axis

- Centred Obtuse Bisectrix

- Centred Optic Normal or Biaxial Flash Figure

- Random Orientations

## ACUTE BISECTRIX FIGURE (Bxa)

The Centred Bxa Figure, pictured in the images above, is obtained when the acute bisectrix is oriented perpendicular to microscope stage. The left image is a view of an acute bisectrix figure from the microscope, the right image is a drawing of an acute bisectrix figure with its component parts labelled.

If the 2V angle of the mineral is low, than the melatopes lie within the field of view as the stage is rotated. The isochromes form an oval or figure 8 pattern around the melatopes, while the pattern of the isogyres changes as the stage is rotated.

At extinction, left image above, the isogyres will form a cross with arms parallel with the crosshairs. On rotating the stage to the 45° position, right image above, the cross will split and the isogyres will form two hyperbole which will lie in opposite quadrants of the field of view. The melatopes and/or isogyres will always leave the field of view along the optic axial plane when the stage is rotated and the figure breaks up.

## FORMATION OF THE ISOCHROMES

The isochromes form in the interference figure because they reflect varying degrees of retardation of the light.

With the auxiliary condensor in place a strongly convergent cone of light is focussed into the mineral grain. Only light which follows one of the optic axes emerges from the grain with zero retardation.

This point is the MELATOPE (M), and there are two in biaxial minerals.

Light travelling along any other path through the mineral will exhibit varying degrees of retardation depending on the length of the path through the mineral and birefringence for that path.

The amount of retardation increases outward, ideally concentrically as seen in uniaxial minerals, from the melatope.

Near the melatope, the light experiences lower birefringence, travels a shorter distance through the mineral and therefore has a lower retardation.

Retardation increases slowly from melatopes towards the Actue Bisectrix (Bxa) (indicatrix axes).

The increased birefringence is partially compensated for by a shorter path.

The result is that the isochromes are stretched out towards Bxa, defining a tear drop shape or figure 8 pattern. The number of isochromes is dependant on:

- the partial birefringence experienced by the light, i.e.;
the difference between

  - nalpha and ngamma for biaxial positive minerals or

  - nbeta and ngamma for biaxial negative minerals, and;

- the thickness of the crystal.

high birefringence & thick crystals = numerous isochromes

## VIBRATION DIRECTIONS AND FORMATION OF THE ISOGYRES

The vibration directions of the light in the acute bisectrix interference figure can be derived in a similar manner to that used for uniaxial minerals. By taking a series of slices through the indicatrix, at right angles to the wave normals, we can determine the vibration directions for all paths of light emerging from the indicatrix.

The image below shows a biaxial negative indicatrix, X is the acute bisectrix, on which the vibration directions for the light are plotted as the blue lines on the surface of the indicatrix.

Since we are looking at the interference figure for the acute bisectrix, the indicatrix must be rotated so that the Bxa is vertical. This rotation causes the vibration directions to rotate as well. In the image below the indicatrix is shown, in grren, inside the mineral, and the vibration directions for the light are indicated, in blue, on the surface of the indicatrix.

The vibration directions are projected onto the surface of the mineral and then onto the interference figure.

In the interference figure where the vibration directions through the mineral are parallel to the polarization directions of the microscope the resulting interference colour in the interference figure will be black - this is the isogyre. (I have not shown the isogyre in this image, so that the vibration directions of the light can be seen.)

On rotating the stage, the position of the vibration directions on the indicatrix surface will be rotated resulting in the change in the shape and movement of the isogyres in the interference figure.

## ROTATION OF THE ISOGYRES

On rotating the stage, the shape and appearance of the isogyres change because the vibration directions for the light are also being rotated.

Rotation of the Isogyres, Bxa Figure, 2V < 40°.

When the grain is at extinction, and the acute bisectrix is vertical the interference figure will be centred in the field of view and will look like the left image above. In this orientation the optic plane (OAP) will be oriented either NS or EW, forming the thin arm of the isogyre cross. The arm of the cross which contains the optic plane also contains the melatopes (M). Near the melatopes the isogyres are at their narrowest.

The second arm of the isogyre cross, containing the optic normal (ON), is wider and fuzzier than the arm containing the optic plane.

Rotating the stage (center and right images above) causes the cross to split into two separate isogyres, with each isogyre pivoting about one melatope.

With the optic axis in the 45° position (right image above), the isogyres form two curved hyperbola with the melatopes acting as the vertices.

The isogyres are narrowest at the melatopes and thicken in both directions away from the melatope.

The isochrome pattern remains fixed relative to the position of the melatopes as the stage is rotated. The position and shape of the isochromes can be used to infer where the melatopes lie.

For minerals with a 2V angle of < 40°, the melatopes and isogyres will remain in the field of view as the stage is rotated.

For minerals with a 2V > 40° the position of both melatopes will lie outside the field of view when the interference figure is examined. The result is that at extinction the isogyre cross is visible, however on rotation the isogyres leave the field of view and are not visible in the 45° position, as the 2V angle is too large (> 40°). In this case the shape of the isochromes can be used to infer the position of the melatopes, the optic plane and the optic normal.

Rotation of the Isogyres, Bxa Figure, 2V > 40°

The 2V angle for a biaxial interference figure can be estimated by comparison of the image viewed under the microscope with Figure 7.32 (p. 103 in Nesse) or with the image below.

## CENTRED OPTIC AXIS FIGURE

### 2V Angle < 30°

The Centred Optic Axis Figure is produced when 1 optic axis is vertical, and correspondingly the second optic axis and the bxa are inclined to vertical. See the block diagram below for the orientation of the indicatrix, the optic axes, Bxa, Bxo and the Optic Normal. The melatope corresponding to the vertical optic axis will be positioned directly beneath the crosshairs. This orientation is produced in a grain which displays the lowest interference colour for that mineral in the thin section being examined. WHY - light which travels along the optic axis sees the same electronic configuration in all directions yielding a single RI, and behaves as if it were travelling through an isotropic mineral.

At extinction the isogyre cross will be visible in the field of view, as shown in the left image above, if the 2V < ~ 30°, otherwise the center of the cross will lie outside the field of view. The center of the cross represents the position of the Bxa in the interference figure.

If the 2V is very small e.g., 1 - 5°, the interference figure looks like an off centred acute bisectrix figure.

Biaxial Optic Axis Figure (2V < 30°) Overhead

### 2V Angle > 50°

With a 2V > ~ 50° only one melatope with it's isogyre is visible within the field of view. The center of the cross representing the position of the Bxa will lie outside the field of view. With the mineral at extinction only a single arm of the cross, parallel to the crosshair, is visible and it narrows at the melatope. The optic plane of the indicatrix will lie along the isogyre and contains the melatope, in the field of view, and the Bxa and the second melatope, both of which lie outside the field of view.

Rotating the stage clockwise causes the cross to break up, outside the field of view, and the isogyre pivots about the melatope in a counter-clockwise direction.

When the optic plane is NS or EW the isogyre is straight, forming one arm of the cross, and the mineral is at extinction.

With the optic plane in the 45° position the isogyre will show its maximum curvature and the position of the acute bisectrix lies on the convex side of the isogyre.

In this position the approximate 2V angle can be estimated using the figure below as a guide. A rule of thumb is that the straighter the isogyre, in the 45° position, the higher the 2V angle.

## OBTUSE BISECTRIX FIGURE

The Obtuse Bisectrix Interference Figure is produced when the obtuse bisectrix (Bxo) of the indicatrix is perpendicular to microscope stage.

The angle between the Bxo and the optic axes is > 45°. The result is that the melatopes will always lie outside the field of view.

The pattern of the isochromes and vibration directions are similar to those of Bxa figure, however the isogyre cross is generally fuzzier than Bxa figure. The optic plane will still parallel the EW or NS crosshair.

On rotating the stage the isogyre cross splits and leaves the field of view in the quadrants into which the optic plane (OP) is being rotated, as with Bxa figure.

The isogyre cross splits and leaves the field of view usually with a rotation of 5° to 15°.

For a Bxo figure the isogyres, when they split, will not be in the field of view.

If 2V = 90°, the Bxa and Bxo are identical, making the mineral optically neutral.

If 2V is small (~5° or less), the Bxo figure resembles an optic normal figure.

## OPTIC NORMAL OR BIAXIAL FLASH FIGURE

A biaxial optic normal figure is similar to the uniaxial flash figure, and is produced when the optic normal (ON) is vertical. In this orientation the optic plane, containing the Bxa, Bxo and optic axes, is horizontal.

The grain which produces this interference figure will display the maximum interference colour for this mineral in the thin section.

The vibration directions for the two rays exiting in figure are similar to those for a uniaxial flash figure.

When the X & Z indicatrix axes parallel the polarization directions, the flash figure is a broad fuzzy cross with only the outer edges of each quadrant of the field of view allowing some light to pass.

As with the uniaxial flash figure a very small rotation, < 5° of the stage causes the isogyre cross to split and leave the field of view in the quadrants into which the acute bisectrix is being rotated.

If 2V = 90° the cross - shaped isogyre does not split as the stage is rotated, it simply dissolves away, with a 5° rotation

## OFF CENTRED FIGURES

Most interference figures examined during routine microscope work are off-centred figures.

In these instances none of the indicatrix or optic axes is vertical.

Any combination of orientations is possible for off-centred figures.

Optic sign determination

## CENTRED ACUTE BISECTRIX

In a centred acute bisectrix figure two rays of light propagate along the acute bisectrix which is either the X or Z indicatrix axis, and emerge in the centre of the Bxa interference figure, which is the point where the two isogyres cross.

At extinction the two rays vibrate parallel to the upper and lower polarizers forming the centre of cross.

- One ray vibrates parallel to the Y indicatrix axis and has an index of refraction equal to nbeta.
This ray orientation is also parallel to the optic normal, the Y indicatrix axis, and corresponds to the fatter arm of cross.

- The other ray vibrates parallel to the obtuse bisectrix of the indicatrix and has an index of refraction equal to nBxo.
This ray vibration direction is also parallel to the optic plane and corresponds to the thinner arm of cross. The optic plane contains the Bxa, Bxo and the melatopes.

For optically positive minerals, the obtuse bisectrix is the X axis and nBxo = nalpha, and corresponds to the fast ray, remember that (nalpha < nbeta < ngamma).

For optically negative minerals, obtuse bisectrix is the Z axis and nBxo = ngamma, and corresponds to the slow ray.

Must determine whether the ray vibrating parallel to the obtuse bisectrix is the fast or slow ray.

To determine whether the X or Z axis is the acute bisectrix, and therfore whether the mineral is optically negative or positive, the interference figure must be rotated such that the optic plane is oriented NE-SW.

The steps to follow to determine the optic sign are:

#### Obtain an acute bisectrix interference figure.

Rotate the stage so that the trace of the optic plane is oriented NE-SW, i.e., the isogyre cross will split and move into the NE and SW quadrants.

  - if 2V angle is small, < ~40°, both isogyres will be visible in field of view.

  - if 2V angle is large, > ~40°, the isogyres will lie outside the field of view.

#### Insert accessory plate.

With the interference figure in the 45° position, the optic plane is oriented NE-SW, such that it is parallel with the slow vibration direction of the accessory plate. Observe the colour change that results.

#### Interpretation.

If the interference colours between the melatopes decrease the ray vibrating parallel to Bxo (parallel to optic plane) must be the fast ray so Bxo = X axis (X = fast ray) and Bxa, which is vertical, = Z axis. The mineral is optically positive.

If the interference colours between the melatopes increase, the ray vibrating parallel to Bxo must be the slow ray, so Bxo = Z axis, and Bxa = X axis. The mineral is optically negative.

If the trace of the optic plane is placed such that it lies in the NW-SE, the areas of addition and subtraction observed for the interference colours will be reversed.

If the interference figure displays few to no isochromes use the gypsum plate to determine the optic sign.

With the gypsum plate inserted the area between the isogyres will exhibit either:

- A decrease in colours, from white to yellow, (shown on the left above) indicates that the vibration direction in the interference figure, which is parallel to the optic plane is the FAST RAY. This colour change tells us that the ray which is vibrating parallel to the optic plane has a low index of refraction and must correspond to nalpha as measured along the X indicatrix axis. Therefore the Z indicatrix axis must be the Bxa.

- An increase in colours, from white to blue, (shown on the right above) indicates that the vibration direction in the interference figure, which is parallel to the optic plane is the SLOW RAY. This colour change tells us that the ray which is vibrating parallel to the optic plane has a high index of refraction and must correspond to ngamma as measured along the Z indicatrix axis. Therefore the X indicatrix axis must be the Bxa.

If there are numerous isochromes use the quartz wedge and watch the directions in which the isochromes move with respect to the isogyres, as the wedge is inserted.

With insertion of the quartz wedge into the light path, the isochromes will move.

- Where colours increase, i.e. where the slow ray of the mineral is parallel with the slow ray of the wedge, the isochromes will move into the figure towards the melatopes, to be replaced by higher order colours from the edge of the figure.

- Where the colours decrease, i.e. where the fast ray of the mineral is parallel with the slow ray of the wedge, the isochromes will move out of the figure away from the melatopes, to be replaced by lower order colours.

## CENTERD OBTUSE BISECTRIX

The obtuse bisectrix figure can be interpreted in the same way as the acute bisectrix, except that the trace of the optic plane has an index of nBxa rather than nBxo.

In the obtuse bisectrix figure if this ray, parallel to optic plane, is the fast ray than the acute bisectrix is the X axis.

- The mineral is optically negative.

In the obtuse bisectrix figure if this ray, parallel to optic plane, is the slow ray, then Bxa = Z axis.

- The mineral is optically positive.

The optic plane will lie in those quadrants of the field of view into which the isogyres move as the stage is rotated. These quadrants will also be those from which the isogyres leave the field of view.

If the 2V is large, e.g. 80 to 90°, it is difficult to distinguish the Bxa figure from the Bxo figure. The sign determination is impractical and a new grain, which produces an optic axis figure, i.e. one with the lowest interference colour, should be selected.

## OPTIC AXIS FIGURE

If both melatopes lie in the field of view, an optic axis figure can be treated as an off centered acute bisectrix figure and the optic sign can be determined using the method outlined previously.

If only a single melatope is visible, when the interference figure is obtained, then it can be considered to be half of a Bxa figure. With a single melatope the convex side of the isogyre will point towards the location of the acute bisectrix, when the trace of the optic plane is oriented in 45° position.

The isogyre will be curved in this position and the degree of curvature is a direct reflection of the amount of the corresponding 2V angle.

If 2V = 90°, the degree of curvature is difficult to determine. The isogyre appears as a straight line parallel to the crosshair when the grain is at extinction. It may be confused with an off-centred uniaxial optic axis figure, however when the stage is rotated the biaxial interference figure isogyre will also rotate while the unixial figure isogyre will move parallel to the crosshairs.

In this case the mineral is optically neutral and the sign is neither positive nor negative, and with 2V for the mineral = 90°.

## OPTIC NORMAL OR BIAXIAL FLASH FIGURE

The optic normal or biaxial flash figure is not useful for determining optic sign, because the 2V cannot be determined and it cannot be distinguished from a uniaxial flash figure.

Estimates of 2V angles can be obtained from a centred Bxa figure, for 2V < 40°, and from a centred optic axis figure for 2V = 0 to 2V = 90°, (See Figure 7.32. in Nesse).

## WHICH GRAINS ARE SUITABLE TO PRODUCE USABLE INTERFERENCE FIGURES?

As with uniaxial minerals, grains which will produce a centred to offcentred biaxial optic axis figure are easiest to identify because of their low interference colours due to the optic axis being vertical.

If the birefringence for the mineral is low, grains with their optic axis vertical will remain extinct or nearly extinct as the stage is rotated.

Optic axis figures are used for most routine work because these orientations produce interference figures where the both the optic sign and the 2V angle can be determined.

Optic normal figures (flash figures) have the Y indicatrix axis vertical and X and Z axes horizontal.

In this orientation, birefringence is at a maximum (ngamma - nalpha), and this orientation will also display the highest interference colour for that mineral in the thin section being examined. This interfernce figure is not useful for determiningthe 2V or the optic sign of the mineral.

The location and identification of grains which will produce an acute bisectrix figure is a matter of trial and error. Many grains and their interference figures must be examined before one with a nearly vertical Bxa is obtained.

The interference colour for this section will be in the lower range of that displayed for the mineral in the sample. Reason: birefringence for this orientation must be less than:

(ngamma - nalpha) /2

It is very time consuming to search for a suitable grain which will produce a centred Bxa figure, but it is essential because these figures give a better estimate of 2V than optic axis figures.

Locating grains which produce an obtuse bisectrix figures is again a trial and error procedure. Birefringence is higher than that exhibited for a grain producing a Bxa figure but less than a grain producing an optic normal figure. The result is that the interference colour will be in the upper portion for that exhibited by the mineral in the thin section.

## OPTICAL PROPERTIES OF BIAXIAL MINERALS

### Pleochroism

To completely describe the pleochroism of biaxial minerals it is necessary to specify 3 colours, each of which corresponds to the light vibrating parallel to one indicatrix axis.

For example in hornblende the pleochroism may be described as:

- X = yellow

- Y = pale green

- Z = dark green

The steps to be followed for determining the pleochroic scheme for biaxial minerals are outlined on p. 101 of Nesse. To record the pleochroic scheme for a biaxial mineral requires that you obtain two centred interference figures, e.g. a Bxa and an Optic Normal, and determine the vibration directions in each and then the associated colour for each indicatrix axis.

### Extinction

The type of extinction (parallel, inclined symmetrical) observed for biaxial minerals is a function of cleavage and crystal habit for the minerals.

We will examine the types of extinction for various minerals when discussing one presenting characteristics later.

### Sign of Elongation

The sign of elongation is dependent on which indicatrix axis is closer to the long dimension of the elongate mineral, grain or fragment.

- if the X indicatrix axis is parallel to the length - the mineral is length fast

- if the Z indicatrix axis is parallel to the length - the mineral is length slow

- if the Y indicatrix axis is parallel to the length, the mineral is either length fast or length slow depending on whether X or Z is in the plane of the section with Y.

### Indices of Refraction

To determine the indices of refraction for biaxial minerals you must measure three different indices (nalpha, nbeta, ngamma) to fully describe a biaxial minerals.

This is done using grain mounts, and a procedure similar to that used for isotropic and uniaxial minerals, but is very time consuming.

It is not possible to measure the indices of refraction in a thin section, but comparison of the unknown mineral to other known minerals, whose incices are known, will provide an estimate of the relative indices for the unknown.

### Dispersion in Biaxial Minerals

The refractve indices, nalpha, nbeta, and ngamma, for biaxial minerals vary for different wavelengths of light. As a result the value for the 2V angle and the orientation of the indicatrix for a given mineral will vary with the wavelength of light.

The variation in the size of the 2V angle is called optic axis dispersion.

The variation in the orientation of the indicatrix is referred to as indicatrix or bisectrix dispersion.

Dispersion is visible as colour fringes developed along the isogyres of the interference figure. Depending on the intensity of the colour fringes, the dispersion is weak, moderate or strong.

Read section on Dispersion in Orthorhombic, Monoclinic and Triclinic Minerals, p. 106.

We know want to examine the optical properties for the major minerals or groups of minerals which you will be looking at in the remainder of the labs. The minerals are:

| Olivine | Orthopyroxene | Clinopyroxene |
| --- | --- | --- |
| Hornblende | Tremolite-Actinolite | Plagioclase |
| Biotite | Muscovite | Chlorite |
| Microcline | Orthoclase | Sanidine |

# OLIVINE

| General Formula: (Fe,Mg)2SiO4 | Sample: PT-96 | System: Orthorhombic |
| --- | --- | --- |
| TITLE DESCRIPTION SCALE | TITLE DESCRIPTION SCALE | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | usually colourless, darker colours correspond to higher iron content non pleochroic | Form | generally subequant anhedral grains or aggregates in intrusive and metamorphic rocks. Equidimensional or elongated euhedral grains in volcanics |
| --- | --- | --- | --- |
| Relief RI | high positive nalpha = 1.636-1.827 nbeta = 1.651-1.869 ngamma = 1.669-1.879 | Cleavage | not observed |
| Birefringence Interference Colours | 0.033-0.052 up to third order | Twinning | not common |
| Interference Figure Optic Sign 2V | biaxial positive or negative 46-98° | Optic Orientation | elongate grains have parallel extinction and may be either length fast or slow |
| Composition | minor substitution of Mn, Zn, Ca, Ni, Cr or Al for Fe and Mg | Alteration | commonly alters to iddingsite and chlorophaeite, which are really mixtures of various minerals which cannot be identified, and serpentine. Alteration progresses from the edge and along cracks |
| Occurrence | pure Fo (Mg-rich) is restricted to metamorphosed carbonates, intermediate Fe-Mg olivine is common in mafic and ultramafic igneous rocks, Fe-rich olivine occurs in felsic rocks. | Distinguishing Features | high birefringence, distinctive fracturing, lack of cleavage, and alteration products. |

# ORTHOPYROXENE

| General Formula: (Mg,Fe)2Si2O6 | Sample: W-3 | System: Orthorhombic |
| --- | --- | --- |
| Orthopyroxene The similar appearence in plane light of orthopyroxene and clinopyroxene are highlighted in this image. Note that both grains lack any clear colour, although coloured and pleochroic varieties are common. Field of view = 4 mm, plane light | Orthopyroxene The low interference colours characteristic of orthopyroxene compared to clinopyroxene are evident in this image. Field of view = 4 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | pale coloured in thin section with subtle pinkish to greenish pleochroism | Form | euhedral crystals are usually stubby prisms, basal sections are 4 or 8 sided, with two primatic cleavages at 90° longitudinal sections are rectangular, exhibit one cleavage and parallel extinction |
| --- | --- | --- | --- |
| Relief RI | moderate to high nalpha = 1.649-1.768 nbeta = 1.653-1.770 ngamma = 1.657-1.788 Generally increasing with increasing Fe content | Cleavage | two good cleavages parallel to the {210} prism faces that intersect at 88° |
| Birefringence Interference Colours | 0.007-0.020 usually first order yellow or lower | Twinning | rare |
| Interference Figure Optic Sign 2V | Biaxial positive or negative 2VZ = 50-132° | Optic Orientation | X=b, Y=a, Z=c optic plane parallel to (100) elongate fragments exhibit parallel extinction and are length slow |
| Composition | the effects of the substituion of Fe for Mg in orthopyroxene on the optical properties is evident in examining Figure 13.4 in Nesse. | Alteration | alters to serpentine, talc or fine grained amphibole |
| Occurrence | Mg-rich opx is common in mafic intrusive rocks (gabbro, norite, etc.). Fe-rich opx is found in more siliceous igneous rocks (diorite, syenite etc.). opx is common in high grade regional metamorphic rocks | Distinguishing Features | distinguished from cpx by: 1) lower birefringence, 2) parallel extinction, 3) pale colour, weak pleochroism, 4) most common opx is optically negative, and 5) high 2V angle. |

# CLINOPYROXENE

| General Formula: (Ca,Mg,Fe,Al)2(Si,Al)206 | Sample: AUPI 33 | System: Monoclinic |
| --- | --- | --- |
| Clinopyroxene Phenocrysts Euhedral, 8 sided, clinopyroxene phenocryst, exhibiting two cleavages, in a fine grained matrix of plagioclase microlites, clinopyroxene and olivine. Field of view 2.7 mm, plane light | Clinopyroxene Phenocrysts Note the black areas in the right grain due to plucking of the sample during preparation of the thin section. Field of view 2.7 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | usually colourless, gray, pale green or pale brown, darker colours associated with Fe-rich varieties Titanaugite is more distinctly coloured from brown/pink to violet. | Form | crystals form stubby prisms elongate along the c-axis, basal sections are 4 or 8 sided and show two cleavages at ~90° |
| --- | --- | --- | --- |
| Relief RI | high positive nalpha = 1.664-1.745 nbeta = 1.672-1.753 ngamma = 1.694-1.771 | Cleavage | typical pyroxene cleavages parallel to {110}, which intersect at ~90° |
| Birefringence Interference Colours | 0.018-0.034 lower to middle second order | Twinning | simple and lamellar twins and composition planes, which in combination may form a herringbone pattern |
| Interference Figure Optic Sign 2V | Biaxial positive 25-70° | Optic Orientation | sections parallel to (100) show parallel extinction sections parallel to (010) show maximum birefringence, a single cleavage and Z^c of 35 to 48° |
| Composition | All clinopyroxenes crystallize with the same structure and there is complete solid solution among all species and they cannot be distinguished reliably based on their optical properties | Alteration | commonly alter to uralite (a fg, light coloured amphibole), or may alter to serpentine, chlorite, biotite, carbonates and /or other silicates |
| Occurrence | common in mafic igneous rocks, alkali-rich varieties may be found in more silicic rocks, often associated with olivine, orthopyroxene, and plagioclase | Distinguishing Features | inclined extinction, higher birefringence, 2nd order interference colours, low 2V, optically positive in comparison with opx |

# HORNBLENDE

| General Formula: (Na,K)0-1Ca2(Mg,Fe2+,Fe3+,Al)5(Si,Al)8O22(OH)2 | Sample: AUPI-37 | System: Monoclinic |
| --- | --- | --- |
| Euhedral Hornblende Phenocrysts Numerous hornblende phenocrysts, exhibiting a range of pleochroic colours, euhedral shapes and two cleavages which intersect at 56-124°:. Field of View = 2.7 mm, plane light | Euhedral Hornblende Phenocrysts Note that the interference colour exhibited by the individual hornblende grains is masked to some degree by the dark colour of the grain. Field of view = 2.7 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | distinctly coloured, shades of green, yellow-green, blue-green and brown X = light yellow, light yellow green, light blue green Y = green, yellow green, gray-green, brown Z = dark green, dark blue-green, dark gray-green, dark brown | Form | found as slender prismatic to bladed crystals, with a 4 or 6 sided cross section which exhibit amphibole cleavage at 56 and 124°, also as anhedral irregular grains |
| --- | --- | --- | --- |
| Relief RI | moderate to high nalpha = 1.60-1.70 nbeta = 1.61-1.71 ngamma = 1.62-1.73 | Cleavage | amphibole cleavages on {110} intersect at 56-124° fragment shape is controlled by cleavage |
| Birefringence Interference Colours | 0.014-0.034 usually upper first or lower second order, but may be masked by mineral colour | Twinning | simple and lamellar twins on {100} are not uncommon |
| Interference Figure Optic Sign 2VX | biaxial positive or negative 35 - 130° | Optic Orientation | X^a = +3 to -19°, Y = b, Z^c = +12 to +34°, optic plane = (010) basal sections exhibit symmetrical extinction with the slow ray parallel to the long diagonal between the cleavages, longitudinal sections are length slow |
| Composition | exhibits a wide range of compositions | Alteration | may be altered to biotite, chlorite or other Fe-Mg silicates |
| Occurrence | common mineral found in a variety of geological environments, i.e. in igneous, metamorphic and sedimentary rocks | Distinguishing Features | cleavage and grain shape, inclined extinction, pleochroism |

# ACTINOLITE-TREMOLITE

| General Formula: Ca2(Mg,Fe2+)5Si8O22(OH)2 | Sample: M-14 | System: Monoclinic |
| --- | --- | --- |
| Actinolite Low to medium grade amphibolite consisting essentailly of actinolite-tremolite. The large grain in the centre of the image displays two cleavages which intersect at 56 - 124°. Field of view 2.7 mm, plane light | Actinolite Low to medium grade amphibolite, notet the range of interference colurs displayed by the actinolite in the image. Field of view 2.7 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | colourless to pale green to dark green, darker colours and stronger pleochroism associated with high Fe contents X = colourless, pale yellow green Y = pale yellow-green, pale blue-green Z = pale green, green, blue-green | Form | occurs as columnar, bladed or acicular grains, elongated parallel to c axis, may be fibrous, basal sections are diamond shaped, with typical amphibole cleavage |
| --- | --- | --- | --- |
| Relief RI | moderate to high positive nalpha = 1.599-1.688 nbeta = 1.612-1.697 ngamma = 1.622-1.705 | Cleavage | two amphibole cleavages on {110}, intersect at 56 and 124° |
| Birefringence Interference Colours | 0.017-0.027 maximum interference colours are upper 1st to mid 2nd order | Twinning | simple and lamellar twins |
| Interference Figure Optic Sign 2V | biaxial negative 2VX = 75-88° | Optic Orientation | X ^ a = +5° to -6° Y = b, Z ^ c = +10° to +21° optic plane = (010) elongate sections are length slow |
| Composition | the primary compositional variation is the relative proportion of Fe2+ and Mg | Alteration | alters to talc, chlorite and carbonates |
| Occurrence | common occurrence is in contact and regional metamorphosed limestone and dolomite. Also found in metamoprhosed mafic and ultramafic rocks. It is the common fine-grained alteration product of pyroxenes. | Distinguishing Features | actinolite closely resembles hornblende, however the latter usually has a smaller 2V angle and may have a higher extinction angle. |

# PLAGIOCLASE

| General Formula: NaAlSi3O8-CaAl2Si2O8 | Sample: PT-10C | System: Monoclinic |
| --- | --- | --- |
|  |  | Click here |
| Ophitic Texture Colourless plagioclase grains, note cleavage to right of label, surrounded by a large oikocryst of clinopyroxene Field of View = 4 cm, plane light | Ophitic Texture Albite, pericline and Carlsbad twinned plagioclase grains enclosed within a second order green clinopyroxene. Field of View = 4 cm, crossed polars | The above image presents a series of block diagrams showing the variation in indicatrix axes and crystallographic axes position with composition. |

### Optical Properties

| Colour Pleochroism | colourless non-pleochroic | Form | occurs as both euhedral and anhedral grains; crystals are tabular parallel to (010), i.e. lath shaped, and elongated parallel to the c or a axis. Chemical zoning is common and is expressed as a variation in the extinction angle from one zone to another. |
| --- | --- | --- | --- |
| Relief RI | low positive or negative, dependant on composition nalpha = 1.527 - 1.577 nbeta = 1.531 - 1.585 ngamma = 1.534 - 1.590 | Cleavage | {001} perfect cleavage, {010} good cleavage. The cleavages intersect at 93° to 94°. |
| Birefringence Interference Colours | 0.007-0.013 first order grey or white | Twinning | polysynthetic twinning is characteristic. Common twin laws are: albite (010) composition plane, polysynthetic, found in all compositions pericline: (h01) composition plane, polysynthetic, found in intermediate to calcic compositions Carlsbad: (010) composition plane, penetration, found in intermediate to calcic compositions |
| Interference Figure Optic Sign 2V | biaxial positive or negative varies systematically with composition | Optic Orientation | Optic orientation varies in a regular manner with composition. Except by chance none of the indicatrix axes coincides with any of the crystallographic axes. |
| Composition | plagioclase shows continuous solid solution from albite to anorthite with NaSi replacing CaAl. | Alteration | commonly partially altered to sericite, clay or zeolites. Plagioclase also may alter to saussurite, a fine grained aggregrate of epidote group minerals, albite, sericite and other minerals. |
| Occurrence | widespread mineral found in nearly all igneous rocks, in many metamorphic rocks and some sediments. The composition of igneous plagioclase will reflect the composition of the melt from which the mineral formed. | Distinguishing Features | low relief, colourless, biaxial figure, polysynthetic twinning. |

# BIOTITE

| General Formula: K2(Mg,Fe)3AlSi3O10(OH,O,F2)2 | Sample: PT-104 | System: Monoclinc |
| --- | --- | --- |
| Biotite Porphyrobalsts Randomly oriented biotite porphyroblasts, exhibiting a range of pleochroic colours, in a pelite collected from the Meguma Group, Nova Scotia. Note the higher relief garnet grain in the lower left corner Field of view = 4 mm, plane light | Biotite Porphyroblasts The biotite porphyroblasts display a range of interference colours, and "bird's eye" extinction where the cleavge traces are parallel or nearly parallel to the polars (NS and EW). Field of view = 4 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | typically brown, browhish green or reddish brown distinctly pleochroic | Form | tabular crystals parallel to {001} with a rough hexagonal shape, also as micaceous or tabular grains or grains with irregular outlines |
| --- | --- | --- | --- |
| Relief RI | moderate to moderately high positive nalpha = 1.522-1.625 nbeta = 1.548-1.672 ngamma = 1.549-1.696 | Cleavage | perfect cleavage on {001} |
| Birefringence Interference Colours | 0.03-0.07 up to third or fourth order, a strong mineral colour may mask the interference colour | Twinning | rarely visible |
| Interference Figure Optic Sign 2V | biaxial negative 0-25° | Optic Orientation | extinction is parallel or nearly parallel, with a maximum extinction angle of a few degrees. Cleavage traces are length slow. |
| Composition | variable composition | Alteration | alters to chlorite, clay minerals, and/or sericite, iron-titanium oxides, epidote, calcite, and sulphides |
| Occurrence | common in a wide range of igneous and metamorphic rocks and may be an important detrital mineral in sediments | Distinguishing Features | colour, pleochroism, "birds-eye" extinction, nearly parallel extinction |

# MUSCOVITE

| General Formula: KAl2(Al,Si3O10)(OH)2 | Sample: PT-51 | System: Monoclinic |
| --- | --- | --- |
| Muscovite Flakes Elongated, colourless flakes of muscovite, in a pelite from the Grenville Supergroup, Central Metasedimentary Belt of the Grenville Province. Field of view = 2.7 mm, plane light | Muscovite Flakes The flakes of muscovite display the characteristic second order blue interference colour. Note that the muscovite flakes define the fabric in the sample, with all exhibiting an EW orientation. Field of view = 2.7 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | colourless non pleochroic | Form | found as micaceous flakes or tablets with irregular outlines |
| --- | --- | --- | --- |
| Relief RI | moderate positive nalpha = 1.552-1.580 nbeta = 1.582-1.620 ngamma = 1.587-1.623 | Cleavage | perfect on {001} |
| Birefringence Interference Colours | 0.036-0.049 vivid second order blues and greens | Twinning | rare |
| Interference Figure Optic Sign 2V | biaxial negative 30-47° | Optic Orientation | parallel extinction, cleavage traces are length slow |
| Composition | highly variable | Alteration | not generally altered |
| Occurrence | common in a wide variety of metamorphic rocks, felsic igneous rocks and as detrital grains in sedimentary rocks | Distinguishing Features | colourless, parallel extinction, "birds-eye" extinction |

# CHLORITE

| General Formula: (Mg,Fe,Al)3(Si,Al)4O10(OH)2*(Mg,Fe,Al)3(OH)6 | Sample: PT-115D | System: Monoclinic and Triclinic |
| --- | --- | --- |
| Chlorite Porphyroblast A relict chlorite porphyroblast within a Meguma Group pelite, from Nova Scotia. Note the very weak colour visible in plane light. Field of view = 2.7 mm, plane light | Chlorite Porphyroblast The interference colour displayed by the chlorite is masked to some degree by the colour of teh grain. Field of view = 2.7 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | light to medium green pleochroic, expressed in shades of green, darker varieties are Fe-rich | Form | commonly found as plates similar to micas |
| --- | --- | --- | --- |
| Relief RI | moderate to moderately high positive nalpha = 1.55-1.67 nbeta = 1.55-1.67 ngamma = 1.55-1.69 | Cleavage | perfect on {001} |
| Birefringence Interference Colours | 0.0-0.015 first order white to yellow, may exhibit anomalous blue or purplish interference colours | Twinning | none |
| Interference Figure Optic Sign 2V | biaxial positive or negative 0-60° (positive) 0-40° (negative) | Optic Orientation | extinction angle up to 9°, cleavage trace in optically positive varieties is length fast and in optically negative varieties is length slow |
| Composition | highly variable | Alteration | oxidation may produce iron stains, but chlorite is relatively stable. |
| Occurrence | widespread mineral in contact and regional metamorphic rocks of low grade, as an alteration product of mafic minerals in igneous rocks | Distinguishing Features | colour, weak pleochroism, and weak birefringence |

# MICROCLINE

| General Formula: 5 |  | System: |
| --- | --- | --- |
| TITLE DESCRIPTION SCALE | TITLE DESCRIPTION SCALE | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | DATA | Form | Data |
| --- | --- | --- | --- |
| Relief RI | Data | Cleavage | Data |
| Birefringence Interference Colours | Data | Twinning | Data |
| Interference Figure Optic Sign 2V | Data | Optic Orientation | Data |
| Composition | Data | Alteration | Data |
| Occurrence | Data | Distinguishing Features | Data |

## RECOGNITION AND DESCRIPTION OF MINERALS

By this point in the course you are familiar with the following minerals which make up the majority of those present in igneous, metamorphic and sedimentary rocks.

| ISOTROPIC MINERALS |
| --- |
| Halite | NaCl |
| Fluorite | CaF2 |
| Periclase | MgO |
| Garnet | (Ca,Mg,Fe2+,Mn)3 (Al,Fe3+,Cr)2(SiO4)3 |

| UNIAXIAL MINERALS |
| --- |
| Quartz | SiO2 |
| Calcite | CaCO3 |
| Nepheline | NaAlSiO4 |
| Apatite | Ca5(PO4)3(F,Cl,OH) |
| Zircon | ZrSiO4 |
| Tourmaline | Boro-Silicate |

| BIAXIAL MINERALS |
| --- |
| Olivine | (Mg,Fe)2SiO4 |
| Orthopyroxene | (Mg,Fe)2Si2O6 |
| Clinopyroxene | (Ca,Mg,Fe,Al)2Si2O6 |
| Hornblende | Ca2(Mg,Fe,Al)5Si8O22(OH)2 |
| Plagioclase | (Na,Ca)Al(Al,Si)Si2O8 |
| Alkali Feldspar | KAlSi3O8 |
| Biotite | K2(Mg,Fe)3AlSi3O10(OH,F,O)2 |
| Muscovite | KAl2(AlSi3O10)(OH)2 |
| Chlorite | (Mg,Al,Fe)3(Si,Al)4O10(OH)2*(Mg,Al,Fe)3(OH)6 |
| Tremolite Actinolite | Ca2Mg5Si8O22(OH)2 Ca2Fe5Si8O22(OH)2 |

# STAUROLITE

| General Formula: Fe2Al9O6(SiO4)4(OH)2 | Sample: PT-104c | System: Monoclinic |
| --- | --- | --- |
| Staurolite Poikiloblast Euhedral staurolite poikiloblast, with inclusions of biotite and quartz, from a Meguma Group pelite. The long diagonal of the staurolite grain measures 7.5 mm, plane light | Staurolite Porphyroblast Staurolite grain at extinction, where the diamond shape is clearly visible. The long axis of the staurolite grain measures 7.5 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | pale honey yellow or brown distinct pelochroism X = colourless or pale yellow Y = pale yellow to yellowish brown Z = golden yellow to reddish brown | Form | crystals are usually prismatic and elongated parallel to the c axis, basal sections are 6 sided, with {110} prism faces dominant. |
| --- | --- | --- | --- |
| Relief RI | high positive nalpha = 1.736-1.747 nbeta = 1.740-1.654 ngamma = 1.745-1.762 | Cleavage | one poor cleavage, not observed in thin section |
| Birefringence Interference Colours | 0.009 - 0.015 up to 1st order white or yellow | Twinning | not obvious in thin section |
| Interference Figure Optic Sign 2V | Biaxial positive 2VZ = 80-90° | Optic Orientation | X = b Y = a Z = c optic plane = (100) parallel extinction in longitudinal sections, symmetrical in basal sections longitudinal sections are length slow |
| Composition | Mg, Al, Ti, Zn, and Si may substitute for Fe | Alteration | alters to sericite or chlorite |
| Occurrence | common in medium grade pelitic compositions may be associated with garnet, andalusite, sillimanite, kyanite, cordierite, chloritoid, chlorite, muscovite, and biotite | Distinguishing Features | colour, pleochroism, relief, and habit |

# EPIDOTE

This description is for epidote, however note that there exist several varieties of epidote, e.g., zoisite, clionzoisite, each of which have different optical properties and may all be present in the same thin section. Var. epidote represent the more Fe-rich compositions of the clinozoisite (Al-rich) -epidote series.

| General Formula: Ca2Fe3+Al2O(Si2O7)(SiO4)(OH) | Sample: GF-83-21A | System: Monoclinic |
| --- | --- | --- |
| Epidote Equigranular epidote, with actinolite and hornblende within a metamorphosed mafic lithology. Field of view = 2.7 mm, plane light | Epidote Note the range of interference colours exhibited by the epidote. Field of view = 2.7 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | higher Fe epidote produces a light yellow-green colour X = colourless to pale yellow or pale green Y = yellow-green Z = colourless to pale yellow-green | Form | found as anhedral grains or granular aggregates |
| --- | --- | --- | --- |
| Relief RI | high positive nalpha = 1.715-1.751 nbeta = 1.725-1.784 ngamma = 1.734-1.797 | Cleavage | a poor cleavge on {100} is not usually seen |
| Birefringence Interference Colours | 0.012-0.049 Maximum interference colours up to 3rd order, depending on composition | Twinning | rare |
| Interference Figure Optic Sign 2V | biaxial negative 2VX = 90-64° | Optic Orientation | optic orientation varies strongly with composition. in all cases Y = b and the optic plane is (010) |
| Composition | epidote is the Fe-rich end member of a continuous solid solution series with clinozoisite (Al-rich) | Alteration | no consistent alteration |
| Occurrence | common accessory mineral in a wide variety of regional and contact metamorphic rocks. A wide variety of igneous rocks contain epidote as a primary accessory mineral. | Distinguishing Features | epidote is distinguished from clinozoisite by optic sign, birefringence, and colour. |

# ANDALUSITE

| General Formula: Al2SiO5 | Sampl: BUPM 17 | System: Orthorhombic |
| --- | --- | --- |
| Andalusite, var. Chiastolite Andalusite porphyroblast showing the development of the chiastolite cross with arms radiating out from the centre of the grain. The andalusite is 6 mm wide, plane light view. | Andalusite, var. Chiastolite The andalusite is altering to fine grained muscovite and chlorite along the edges, and is hosted within a very fine grained pelitic matrix. The andalusite is 6 mm wide, crossed polar view. | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | colourless, rarely pink coloured varieties are weakly pleochroic | Form | usually elongate prisms with nearly square cross sections. var. chiastolite contains dark inclusions that form a cross along the diagonals of the prism. |
| --- | --- | --- | --- |
| Relief RI | moderate high positive nalpha= 1.629-1.640 nbeta= 1.633-1.644 ngamma= 1.638-1.650 | Cleavage | two good prismatic cleavages {110} nearly at 90° |
| Birefringence Interference Colours | 0.009-0.013 firsrt order grey to white | Twinning | rare |
| Interference Figure Optic Sign 2V | biaxial negative 71-88° | Optic Orientation | elongate sections display parallel extinction, cross sections exhibit symmetrical extinction, generally length fast |
| Composition | relatively pure Al2SiO5, but significant amounts of Mn3+ and Fe3+ may substitute for octohedral aluminium | Alteration | to sericite, chlorite or other phyllosilicates, or as reactant in metamorphic reactions |
| Occurrence | common in contact and regional metamorphsim, associated with cordierite, garnet, sillimanite, kyanite, staurolite, muscovite, biotite, chlorite and plagioclase | Distinguishing Features | moderate high relief, large 2V, parallel extinction, and length fast |

# SILLIMANITE

| General Formula: Al2SiO5 | Smaple: PT-78(2) | System: Orthorhombic |
| --- | --- | --- |
| Sillimanite var. prismatic Euhedral prismatic sillimanite, displaying a single cleavage. This is one of two common forms of sillimanite, the other is fibrolite. Field of View 2.7 mm, plane light | Acute Bisectrix Note the low, first order grey, interference colours. The grains are oriented such that the view is looking down the c crystallographic axis and the Z indicatrix axis - the acute bisectrix. The rock type is a high grade pelite from the Grenville Province. Field of View 2.7 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | colourless, mats of fibrolite may be pale brown non pleochroic | Form | commonly occurs as slender prismatic crystals or as fine fibrous cyrstals called fibrolite |
| --- | --- | --- | --- |
| Relief RI | high positive nalpha= 1653-1.661 nbeta= 1.657-1.662 ngamma= 1.672-1.683 | Cleavage | one single good cleavage {010} parallel to the length of crystals |
| Birefringence Interference Colours | 0.018-0.022 lower second order | Twinning | none reported |
| Interference Figure Optic Sign 2V | biaxial positive 20-30° | Optic Orientation | elongate sections show parallel extinction and are length slow |
| Composition | relatively pure Al2SiO5 with minor Fe3+, Ti4+ or Cr3+ | Alteration | may alter to sericite. May be involved in a variety of metamorphic reactions and display reaction textures with andalusite, sillimanite, staurolite, cordierite and garnet. |
| Occurrence | common mineral in medium to high grade pelitic schist, gneiss and related metamoprhic rocks. Associated with kyanite, andalusite, staurolite, muscovite, biotite, K-feldpsar, cordierite, corundum, and garnet. | Distinguishing Features | higher relief, moderate birefringence, parallel extinction, and habit |

# KYANITE

| General Formula: Al2SiO5 | Sample: PT-51 | System: Triclinic |
| --- | --- | --- |
| TITLE Two kyanite porphyroblasts, within a pelite from the Grenville Province, showing euhedral shapes and the presence of cleavage, evident in the lower grain. Field of View 2.7 mm, plane light | TITLE The kyanite porphyroblasts have inclusions of quartz and the muscovite fabric is evident between the lower grain and the bottom of the image. Field of View 2.7 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | colourless, possibly pale blue non pleochroic | Form | elongated bladed or columnar crystals |
| --- | --- | --- | --- |
| Relief RI | high positive nalpha= 1.710-1.718 nbeta= 1.719-1.725 ngamma= 1.724-1.734 | Cleavage | one perfect cleavage on {100} and one good cleavage on {010}, a basal parting on {001} may be conspicuous cutting at ~85° |
| Birefringence Interference Colours | 0.012-0.016 first order colours | Twinning | rare |
| Interference Figure Optic Sign 2V | biaxial negative 78-84° | Optic Orientation | inclined extinction with a maximum angle of 30°, length slow |
| Composition | relatively pure Al2SiO5 with minor Fe3+, Ti4+ or Cr3+ | Alteration | may alter to sericite and or chlorite. May be involved in a variety of metamorphic reactions and display reaction textures with andalusite, sillimanite, staurolite, cordierite and garnet. |
| Occurrence | commonn in pelitic schist, gneiss and related metamoprhic rocks. | Distinguishing Features | higher relief, inclined extinction, optical character and elongation |

# SPHENE/TITANITE

| General Formula: CaTiOSiO4 | Sample: 88-18 | System: Monoclinic |
| --- | --- | --- |
| Sphene Note the high relief of the sphene grain compared to the other minerals in the field of view. Field of view = 2.7 mm, plane light | Sphene Note the high interference colour, of the sphene, which may be masked by the colour of the grain. Field of view 2.7 mm, crossed polars | Block diagram showing the relationship between the crystallographic axes and the indicatrix axes. |

### Optical Properties

| Colour Pleochroism | shades of brown, less commonly colourless or yellow non to weakly pleochroic | Form | euhedral to subhedral grains with a wedge or diamond shaped cross section |
| --- | --- | --- | --- |
| Relief RI | very high positive nalpha = 1.843-1.950 nbeta = 1.870-2.034 ngamma = 1.943-2.110 | Cleavage | good prismatic cleavage {110}, but not usually obvious in thin section |
| Birefringence Interference Colours | 0.100-0.192 extreme birefringince produces upper order white/cream interference colours | Twinning | simple twins on {100} and lamellar twins on {221} |
| Interference Figure Optic Sign 2V | biaxial positive 2VZ = 17-40° | Optic Orientation | X ^ a =-6 to -21 ° Y = b Z ^ c = +35 to 51° optic plane = (010) |
| Composition | Al3+ and Fe3+ may substitute for Ti4+, a wide variety of other cations, e.g. REE, U and Th, may substitute for Ti. | Alteration | alters to leucoxene |
| Occurrence | a common accessory in a wide variety of igneous and metamorphic rocks. | Distinguishing Features | very high relief and extreme birefringence |

## RECOGNITION AND DESCRIPTION OF MINERALS

By this point in the course you are familiar with the following minerals which make up the majority of those present in igneous, metamorphic and sedimentary rocks.

| ISOTROPIC MINERALS |
| --- |
| Halite | NaCl |
| Fluorite | CaF2 |
| Periclase | MgO |
| Garnet | (Ca,Mg,Fe2+,Mn)3 (Al,Fe3+,Cr)2(SiO4)3 |

| UNIAXIAL MINERALS |
| --- |
| Quartz | SiO2 |
| Calcite | CaCO3 |
| Nepheline | NaAlSiO4 |
| Apatite | Ca5(PO4)3(F,Cl,OH) |
| Zircon | ZrSiO4 |
| Tourmaline | Boro-Silicate |

| BIAXIAL MINERALS |
| --- |
| Olivine | (Mg,Fe)2SiO4 |
| Orthopyroxene | (Mg,Fe)2Si2O6 |
| Clinopyroxene | (Ca,Mg,Fe,Al)2Si2O6 |
| Hornblende | Ca2(Mg,Fe,Al)5Si8O22(OH)2 |
| Plagioclase | (Na,Ca)Al(Al,Si)Si2O8 |
| Alkali Feldspar | KAlSi3O8 |
| Biotite | K2(Mg,Fe)3AlSi3O10(OH,F,O)2 |
| Muscovite | KAl2(AlSi3O10)(OH)2 |
| Chlorite | (Mg,Al,Fe)3(Si,Al)4O10(OH)2*(Mg,Al,Fe)3(OH)6 |
| Tremolite Actinolite | Ca2Mg5Si8O22(OH)2 Ca2Fe5Si8O22(OH)2 |

The last half of the text is devoted to the description of the common minerals (200 or ~10% of those known minerals) found in most rocks. However, over 3,000 different minerals have been identified and any one or more of these may be present in a given thin section in amounts from 1-2% to a single grain.

### What features may be used to aid in the identification of minerals within an individual thin section?

#### Shape of Crystal

|  | acicular | needle-like grains (actinolite, tremolite) |
| --- | --- | --- |
|  | bladed | elongate, slender (hornblende) |
|  | columnar | elongate with equidimensional cross sections (qtz, pyroxenes) |
|  | equant | equidimensional grains (quartz, olivine) |
|  | fibrous | grains form long slender fibers (asbestos, sillimanite) |
|  | lathlike | flat elongate grains (plagioclase) |
|  | prismatic | crystal faces defined by prism (apatite) |
|  | tabular | book shape (plagioclase) |

#### Degree of Crystallinity

|  | euhedral | grains have well formed crystal faces |
| --- | --- | --- |
|  | subhedral | poorly formed and/or irregular crystal faces |
|  | anhedral | no regular crystal faces |

#### Cleavage

In grain mounts, straight edges on grains generally indicate the presence of cleavage. In thin section, cleavage is difficult to recognize in minerals with a low relief, under normal circumstances, by closing the aperture diaphragm cleavage is more readily observed.

Grains at the edge of the thin section may exhibit cleavage more so than grains in the centre, as these grains will readily break along the cleavage planes as the thin section is being made.

The angle between cleavages is useful for identifying the broad mineral group to which the unknown belongs, e.g. if the grain exhibits two cleavages that intersect at 56 - 124° then the unknown belongs to the amphibole group.

#### Twinning

The presence and nature of the twins in a grain may be diagnostic for that mineral. A variety of common twins may be observed in thin section, with the type dependant on the individual mineral.

  - simple twins - two segments of one grain go extinct at different times as the stage is rotated.

  - contact twins - the segments are joined by a smooth twin plane separating the segments.

  - penetration twins - the segments are joined by an irregular contact.

  - polysynthetic twinning - consists of numerous twin segments joined on parallel twin planes.

#### Alteration

The type of alteration product observed within an individual grain may be used as an aid in identifying that grain, e.g.:

  - iddingsite alteration of olivine

  - sericite alteration of plagioclase

  - clay minerals from alkali feldspars

#### Associations

Knowing the common mineral associations in a variety of rock types may aid in making an "educated guess" as to the identity of an unknown mineral.

Knowing the association for a given rock may aid in the identification of a specific mineral which might otherwise have been overlooked.