Laboratory 2: Part II

Completion of Part I

Purpose (Problem)

- To assess the properties of a measurement system

Method (Plan)

- Select four parts at random out of the 8 available parts for each operator (there are 2 operators)

- Each operator plots the points on the first part and then measures the applicable line segments

- Each operator then turns over the page and repeats the previous step on the replica of that part

- Each operator then repeats steps 2 and 3 using the other 3 selected parts (both operators completes the parts in the same order)

- The measurer, separate from the operators, then measured the true value of each line using the same measuring tool as the operator used for their measurements

Results (Data)

- the data of this process is attached in Appendix A

Analysis

- (write up after I make the excel sheet pretty)

Conclusion

- Poor measuring system

- Biases vary largely between the operators

- Only half the parts, the average true value fell within the range of the measured value, which indicates that the measuring system was poor

- Biases vary among the parts

Critical Examination of a Measurement System Assessment

Problem (page 10)

1.

For each measuring system:

- Average values

- True values

2.

- Deviation values for each measuring system (A, B and Final) for all pistons (1, 2 and 3) on a scatterplot diagram

Plan

1.

- advantage

  - larger sample reduces sample error and shows the variation from shift to shift (accounts for different operators on different shifts)

- disadvantage

  - collecting this data would take more time and incur more costs for the company

2.

- advantage

  - eliminates the variability due to the temperature during the time of measuring (an explanatory variate)

  - eliminate machine error

- disadvantages

  - moving the measuring systems could be costly and timely

  - each measuring system is calibrated to deal with the temperature and changing them would mean it is necessary to re-calibrate A and B to the same calibration as the final measuring system

  - if there is a calibration error on the final, then calibrating the others according to the final measuring system would cause them all to have measuring errors

  - not cost-effective to have 3 measuring systems at the same point because machine error doesn’t seem to be an issue with the company

3.

- Yes, should use more than one, because it reduces sampling error (elaborate)

4.

- Advantages

  - Could reduce explanatory variates that effect the measuring at a certain point in time (due to weather conditions, etc.)

  - For example

    - The calibration could be off at that specific time of measuring, thus causing all the data taken over a short time to be inaccurate

- disadvantages

  - if it takes more time, it is more costly to the company

  - the calibration may not be the same throughout the long time period, which would make it necessary to re-calibrate

  - something might happen to the piston over the longer time period (wear-and-tear, etc.)

Analysis and Conclusion

1.

A:

| Avg Bias A | 0.043333 |
| --- | --- |
| Avg Bias B | -0.90667 |
| Avg Bias Final | 0.203333 |
| Variation A | 0.8285 |
| Variation B | 0.624333 |
| Variation Final | 0.253278 |

B:

2.

- The final measurement is, in general, a higher measurement than B.

- Although A and final both have low bias, final is consistently closer to the true value (varies less)

- Measurements of the same piston are all within a certain range, within a range of 4 units of measurement

- System B is the most unreliable of the three, as it has the largest bias and also the largest variation

- Limitations:

  - Have only sampled 3 pistons, so there may be sample error

  - Each shift only measured the piston twice, could have measured more times to reduce measuring error caused by the operator