Internal Resistance Experiment

AIM:		To determine the internal resistance of a battery

We are provided the equations y=mx+c (the general linear equation) and V=(-r)I-E, where r is the internal resistance (in ohms), I is the current (in amps), V is the potential difference (in volts) and E is the EMF of the circuit (a set 1.5 volts)

MATERIALS:

- 1 Ammeter (digital)

- 1 Voltmeter (digital)

- 1 Variable Resistor

- 1 D battery

- 1 resistor (unknown resistance- this resistor will not affect the calculation)

- Set of appropriate wires (for connecting the apparatus)

Diagram:

D battery

A

V

METHOD:

- Set up the equipment as shown above.

- Adjust the variable resistor until the voltmeter reads 0.1V.

- Record the reading on the ammeter.

- Repeat 2 and 3 with the voltmeter reading 0.2-0.6V.

- Repeat steps 2-4 again

SAFETY:

Care should be taken not to electrocute any person in the lab. Also, no water should be allowed near the equipment, as this could lead to electrocution of fellow lab persons or short-circuiting of the equipment

RESULTS:

| V | I |  |  | E |
| --- | --- | --- | --- | --- |
|  | 1 | 2 | Average |  |
| 0.100 | 0.060 | 0.060 | 0.060 | 1.500 |
| 0.200 | 0.060 | 0.050 | 0.055 | 1.500 |
| 0.300 | 0.050 | 0.060 | 0.055 | 1.500 |
| 0.400 | 0.040 | 0.050 | 0.045 | 1.500 |
| 0.500 | 0.040 | 0.040 | 0.040 | 1.500 |
| 0.600 | 0.040 | 0.030 | 0.035 | 1.500 |

See attached sheet for graph of V over I

By comparing the two provided equations and using the graph (see attached) we arrive with the equation V = -23.621I + 1.5.

This means that the internal resistance is 23.621 ohms

CONCLUSION:

The internal resistance of the battery is 23.621 ohms

EVALUATION:

This experiment was conducted with few problems. The main problem was during the calculation of the results, remembering the correct algebraic actions and some confusion was had with the value of E until it was realised that the e.m.f. was a negative value for this equation.