Tri County Metals


[image: image18.jpg]Lap Serew,

o

Apply sealant
olp




[image: image19.jpg]


[image: image20.jpg]


[image: image21.jpg]






301 S.E. 16th Street

(352) 463-8400

Trenton, FL 32693

(352) 463-0785


Detail Manual

Guide to Tri County Metals Products

5 – Rib 3’–0” Roofing Panels & Accessories
tricountymetals@bellsouth.net
Ordering Supplies
Ordering Roof Panels and Screws
Care should be taken to order panels of the correct length to avoid having to take corrective measures after purchase. Panel lengths should fall 2 to 3 inches short of the ridge when a vented ridge is desired and should extend 2 to 3 inches past eave to allow a sufficient drip edge (except concerning gutters). The Tri County Metals sales personnel are ready to assist customers with information specific to their particular roof. 

	[image: image1.png]Screw (purlin) Spacing





	[image: image2.png]49p40 1noA uj sppued Jo 3934 Jeaul|




	 
	12” 
	18” 
	24” 
	30” 

	
	50
	270
	180
	135
	108

	
	100
	540
	360
	270
	216

	
	200
	1080
	720
	540
	432

	
	300
	1620
	1080
	810
	648

	
	400
	2160
	1440
	1080
	864

	
	500
	2700
	1800
	1350
	1080

	
	600
	3240
	2160
	1620
	1296

	
	700
	3780
	2520
	1890
	1512

	
	800
	4320
	2880
	2160
	1728

	
	900
	4860
	3240
	2430
	1944

	
	1000
	5400
	3600
	2700
	2160

	
	1100
	5940
	3960
	2970
	2376

	
	1200
	6480
	4320
	3240
	2592


A special screw with washer that is applied through the flat of the metal is the recommended method to attach roofing panels. 1-inch screws can be used if penetration of only ¾ inch is either necessary or desired.  Otherwise, 1 ½ inch screws are usually recommended. 2 ½ inch screws are also available, and are often used by those who adhere to through-the-rib fastening, and for ridge-cap application. See below for screw spacing and ordering.

.
How to Figure Screws:

On low-pitched roofs butyl tape or caulk should be applied at the panel lap to keep water from overflowing the lap. Note that the under lap side of the panel has a short purlin-bearing leg that rests on the roof decking.

For 2-foot spacing between rows of screws, multiply the total linear feet of metal times 2.7. 
Example: If your order is 1250 feet of Ultra-Rib® roofing. 
1250 x 2.7 = 3375 screws 
Tri County Metals carries screws in 4 different lengths: 1 inch, 1 ½ inch, 2 inch and 2 ½ inch. 1-inch screws will barely penetrate a 1x4, but 1 ½ inch are the best all purpose size. 1½, 2 or 2 ½ inch screws are necessary for attaching ridge caps.
Screws should be placed on both sides of the ribs on the eave.

[image: image3.jpg]



Purlin spacing can be up to 30 inches for 29 gauge (2 feet is most common) and up to 4½ feet for 26 gauge roofing.

Ordering and Applying Trim

The most common flashing for metal roofing is the ridge cap, which is used at the peak of a roof where two opposing roof slopes join. Other flashings include transition flashing, end wall, sidewall flashings and valleys (See Diagrams for Installation). Eave flashings include gable flashing 
and eave drip, either of which is often applied above fascia trim. When roof pitch exceeds 5/12 (a 5 inch rise in 12 inches), the slope of the roof should be mentioned when ordering ridge caps, end walls, and eave drip. When a steeper roof slope meets a lesser slope, both slopes should be mentioned when ordering transition flashing. 

At the gable edge, the use of gable trim adds to the appearance of the structure and protects the fly-rafter, and a sidewall flashing is used where the side of a panel butts up against an adjacent wall. In either case, the installer should be careful to seal between the gable rake or sidewall and panel with butyl sealant tape, and to fasten the rake every 6" to 12" up the slope of the roof with the appropriate screws. If the eave drip is used on the gable, the number of 90 degree eave drip should be specified separately from that used on the drip edge when ordering. 

To prevent penetration of water, insects, and debris at the ridge, outside closures may be inserted between the ridge cap and the top end of the panel. Screws are applied through the ridge cap, closure, and rib in at least every other rib of the panels. At least a 1 ½" (and up to a 2 ½") screw should be used for attaching ridge caps. Self-drilling lap screws could also be used to attach ridge caps. 

Keep Materials Dry!

Paint and finishes of Tri County Metals panels and trim are designed to withstand severe rain and wet weather conditions. Neither paint, galvanized, nor Galvalume finishes are designed to be in continuous contact with water for long periods of time. Damage will result if uninstalled panels or trim are allowed to remain wet in storage. Be sure to store material that will not be installed immediately in a dry location. Wet material should be air-dried and restacked if installation is not planned right away. 

Application of Panels
Roof Pitch

Tri County Metals roofing panels require a certain degree of pitch to ensure proper water drainage. The minimum roof slope recommended for all panels is 3 inches of rise per foot. If the slope of the roof is below a 3/12 pitch (down to a 1/2 in 12 pitch), the use of the ridge closures become more necessary, and precautions such as butyl sealant should be applied at all side-laps to prevent water from siphoning over the ribs. Consult our representative before using metal roofing with a 3/12 pitch. Florida Building Code does require a minimum of a 3/12 pitch.

Roof Application

Panel installation should begin at the gable end of the roof opposite the prevailing rain-bearing wind (this will provide added assurance against wind-driven rain being forced under the laps). Measure one panel width in from the roof edge. At this point chalk a line from ridge to eave. Place the leading edge of the first panel along this line. It is extremely important that this panel be laid square to the eave and ridge so that the remaining panels will line up square on the roof frame. It is wise to have a person at the eave and at the ridge to ensure that the proper panel coverage is being maintained across the roof. Also, be sure that the panels are properly side-lapped.

 In applications where end lapping is necessary, the upper panel on the slope should lap over the panel that is lower on the slope. A lower roof pitch requires a greater amount of panel overlap. All end-lap applications require two horizontal rows (across the panel) of butyl sealant tape and proper fastening to provide a maximum water seal.  An overhang of 2 to 3 inches is recommended to provide a drip edge, while only 1 inch overhang is necessary where gutters are used. 
The open panel ribs at the eave can be sealed with inside closures. For maximum weather-tightness, a row of butyl tape can be applied above and beneath the inside closures. 

Trimming and Cutting Steel Panels

The best device for cutting steel panels across the profile is a portable shear, hand shears or a nibbler. Nibblers, and especially Carborundum blades on electric saws, however, do have a tendency to either leave hot metal particles (that can burn paint surfaces) or leave rust marks on panels and trim. The same is true of any filings left on the roof caused by the application of screws. 
To cut panels lengthwise: Note carefully where the panel is to be cut and using a straightedge, score deeply down the length of the panel with a sharp-pointed utility knife. Folding the panel along the score mark and bending back again if necessary, should produce a clean break in the panel. 




Clean all metal shavings and particles off roof to avoid unsightly rust stains.
If care is taken, metal roofing application can be aided by pre-drilling panels, allowing screws to go quickly and accurately into the desired spacing. Pre-drilling will work provided that pilot holes are placed accurately in the proper locations on panels. Purlin spacing must be uniform and carefully measured.

Re-Roof Application

To apply metal roofing over existing shingles, we recommend first overlaying the shingles with properly attached 1x4 purlins. If pressure treated purlins are used, then 30 lbs. felt paper should be applied over them in strips to prevent chemical interaction with the roofing panels. For solid decking, at least 1/2-inch structural plywood or OSB (5/8” for Metro-Dade new construction and for any high velocity wind zone of 120 mph and above) supported on rafters at a maximum of 24” on center. Battens: Ultra-Rib® metal roofing can be separated from the moisture barrier by a minimum of a 1”x 3” yellow pine battens spaced on maximum 24” centers or according to ASCE calculations where applicable. 



Direct contact between pressure treated lumber and metal roofing must be avoided in order to prevent potential corrosion.
The battens must be fastened to the roof deck with minimum #6 screws at 12” on-center or two minimum 8d common or pneumatic nails spaced 8” on-center or one every 4” on-center (or by applicable calculations according to ASCE 7-98.)
Battens must be installed to support the entire width and length of ridge, eave, hip, valley, and gable end trims.  NOTE: Re-roofing over shingles without a batten is allowed provided that 30 lbs. felt paper is used and that the roof has been checked by a licensed roofing contractor to insure the levelness and pullout integrity.   

[image: image6.png]Manufacturers Recommended

Alternate Fastening Schedule

Altornate Fastening Schedul

(On Center Spacing or
Type Placement To Fogimmer ® wo
On Conter | Trim | On Contor | Trim | On Contor

| svacing rkm- Spacing | Aroas | Spacing | Aroas

200 Nall Wood 10dxta4n | 26 z u | o |
! [ Wood Fast Scrow | Wood Toxrn | 2 12 w o] w |
Wood Fast Stitch Wood m2x 2 2 2 1:~T w |

Motal Fast Stitch | 18 Ga Steol and Higher |  #12x 1" W w | W W | o |

Matal Fast Stitch | 20 Ga Stesl and Lower | #14x7/8" " 2 1 w | oz Jar

Nail Wood 10d x ’4;’"' 12" L 10" _5:'- 8" 4

Wood Fast Screw Wood oz | e | o u wow |

m ‘Wood Fast Stitch Wood M2 x 34" " 7 7 7 ” Rl
Motal Fast sttch | 18.Ga Steet and Higher | #12x 1 3 36 3 w | s | o3

Metal Fast Stitch | 20 Ga Steol and Lower | #14x 778" 2 7 1 | o |





[image: image7.png]Residential Trim

Endwall
ﬂﬂshing

Ridge cap

4

Sidewall !L
7))/

/L
i

ey
/ iy
1l
mE

Roll Lite Door

Transition
Flashing





Ultra-Rib® Roofing Panels and Accessories
[image: image8.png]36" Cover Width-





Tri County Metals Ultra-Rib® panels are a strong, durable, economic, and an attractive answer to the growing demand of the metal roofing needs for homes, businesses, agricultural and utility buildings in Florida. Ultra-Rib® panels provide 36-inch coverage with 3/4 inch ribs on nine-inch centers, and utilize an anti-siphoning channel to provide protection from severe weather conditions. 
Both panels and trim are fabricated using state-of-the-art computerized equipment at our manufacturing facility in Trenton, Florida, to assure uniformity and consistency in product manufacturing. Panels are roll-formed to the lengths specified by customers in either Galvalume® or any of our fourteen colors of painted 26-gauge and 29-gauge high-tensile metal. 
Tri County Metals Ultra-Rib® panel is produced in a bare; G-60 to G-80 hot dipped Galvalume® or galvanized finish conforming to ASTM A-653 Structural Steel Grade 80. The AZ-55 Galvalume® finish is not only durable and cost effective, but offers the reflectivity which is so valuable here in the South. 

The paint system employed on our product offers optimum exterior protection plus superior resistance to corrosion and ultraviolet radiation. All of Tri County Metals Ultra-Rib® finishes are of the highest known quality in the industry.  

We only offer one grade of material which is Prime Metal panels, which carry a 25-year limited coil manufacturer, finish warranty. Your Tri County Metals Representative is waiting to assist you in making the best choice for your particular roofing needs. 

Tri County Metals also stocks a complete line of fasteners, sealants, and other accessories to every need of either the do-it-yourself homeowner or roofing contractor. Both in-stock and custom-made flashings and trims are available in all colors as well. 

All products are available for pick-up or on-site delivery.

Drip Edge & Fascia 
[image: image9.jpg]Eave drp with fascia and insido closuro






Eave drip and fascia give a finished look along the drip eave of the house, as well as providing protection for the materials they cover. The eave drip should completely cover the top edge of the fascia. Inside closures, which seal off the open ribs of the panels, are optional
For custom eave drip, specify the amount of the eave that will be covered (dimension "a"), and, for steeper roofs, specify pitch. If fascia is desired, be sure that the dimension you order will be hidden by the eave drip.

Preformed Valley

[image: image10.jpg]ol el 106°
e

PV2syie





Two basic styles of valley are available. For custom valleys, specify dimension "a". Details are on the following page.
Preformed valleys use a diverter to prevent water from rushing under panels on the opposite side while meanwhile channeling water off the roof. Expanding foam closures are often used to assure a good seal.

Gable Flashing

[image: image11.jpg]3

Bubtape
EE-Lstyle
Custom trim—specify a custom.
length for @ or b.
Standard dimensions — a = 3"
o3
GReLatyle
Custom rim—specify a custom
length for a o b

Stndard dimensions — a=3"
e





Gable flashing is used to trim the edge of the roofing panel at the gable end of the roof. It should match the eave drip extends along the drip edge of the roof. If the panel is allowed to hang over the gable end, eave drip can be used instead. Butyl tape between the trim and panel eliminates leaks. 
Transition Flashing
Transition flashing prevents leakage at the point where two different roof pitches meet. It is sealed on the lower side with outside closures, and can be sealed underneath the upper panels with inside closures.


For custom transition flashing specify the pitches of the two roof slopes and, dimensions “a” and “b”.
Endwall Flashing
[image: image12.jpg]


 
As with the ridge cap, the end-wall flashing above can be sealed using outside closures.

End-wall flashing is applied where the upward slope of a roof meets a wall. The wall side of the flashing can be covered with siding or counter-flashing, and outside closures are used to seal between the flashing and the panel. Roof slope should be mentioned if roof exceeds 5/12 pitch.

Sidewall Flashing 
[image: image13.jpg]caulk (Solo Soaf rocommended)

 countofashng (usod f sdawal
o ot covered by siing)

tom wrim —specify acusiom ||
length for a or b. || -
Standard dimensions — a= 3"

b=3




Side-wall flashing is applied when the side of the roof butts up against an adjacent wall. The wall-side of the flashing can either be covered over with siding or sealed with counter flashing. Butyl tape should be applied where the "foot" of the flashing attaches to the roof, and, if used, along the top edge of the counter flashing. 

Ridge Cap 

[image: image14.jpg]



The Ridge Cap is used to seal the point at which two upward slopes meet. This can be both along the ridge of the roof as well as a covering for a hip. Either wood grip or self-drilling lap TEK screws are applied through the ribs of the metal.

Debris, insects, and blow ingrain can find easy access under the ridge cap, so closures are often used to either completely or partially seal the opening. Closures under ridge caps come in 3 types: solid, vented, and hip tape.

Solid closures ("Outside Closures") are the same width as the panels. They lock together in a row placed directly under the screws that attach the ridge cap and form a solid, water-tight, air-tight barrier. (See Transition Flashing).
Profile Vent comes in 50 foot rolls, is 3 inches wide, and forms a water retardant, insect resistant barrier that allows hot air to escape from the attic, and is superior to many other elaborate and expensive vent systems. Any length may be ordered.

Hip closure tape (Peel and Seal®) is a sticky, adhesive-backed metallic tape that seals the hip roof. It is 6 inches wide and comes in 33 ½ foot rolls. Because it must be conformed to the rise and fall of the panel ridges, approximately 10% extra may be needed beyond the length of the hip being covered.

Pipe boots seal with caulk and conform to the shape of the panel ribs (left). They also provide a water tight seal around roof vents and come in a variety of sizes.

[image: image15.png]



Standard 12-inch Ridge Caps are economical and adequate for most of your roofing needs.

Over-sized Ridge Caps are available in 18-inch width (hem to hem), or as a custom trim item in other widths.

Ridge caps are available in total widths (2 times "a") of 14-, 16-, 18- , 20-, 22-, and 24-inch.
	Summary of Stock Trims and Flashing (10’ Lengths)
special order information

	Ridge caps (RC-2)
	Specify pitch if less than 3/12 or greater than 6/12. Also available in larger widths. Closures recommended.

	Eave drip (EF-3)
	1 common style. FHA style is pre-pitched for 3/12 to 6/12 roofs. For appearance or ease of application, order by either specified pitch or as gable trim (90°).

	Gable flashings
	Residential (EF-1), large (GR-2), and small (GR-1) rakes available. Use butyl sealant between rake and panel.

	Valleys (PV-1)
	Specify pitch if greater than 7/12. Seal with universal foam closure material. Open-hemmed valleys (PV-2) aid water-tightness.

	Sidewall (SW-1)
	Use butyl sealant between sidewall flashing and panel.

	Endwall (EW-1)
	Specify pitch if greater than 5/12. Seal with outside closures

	Transition Flashing
	Specify pitches of both roofs. Seal lower slope using outside closures and, if desired, inside closures on upper slope.


 
NOTES ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	


Tri County Metals Policies 

All standard trim not ordered as "economy" is manufactured form our best 29-guage prime coil stock, and is returnable as long as it is deemed by our company's representative as being in good, clean, resalable condition, free from scratches, mars, and other damage, with a 20% restocking fee. The same general principle applies also to the return of other accessories such as screws, boots, closures, etc. Trim that is custom-made is not returnable, and is considered the property of the customer once it has been made, whether paid for or not.  

Delivery policy: Delivery charges apply to all orders where delivery is requested. Please consult your Tri County Metals sales department for details. 

Sales tax: All orders picked up at Tri County Metals, and all orders delivered within the state of Florida, are subject to state sales tax. Tax exemptions should be verified prior to delivery or customer pickup. Orders delivered out-of-state are tax exempt. 

Warranted products: Orders designated "prime" come with a 25-year coil manufacture's warranty. All trim is manufactured from the best grade in stock of the particular color ordered. 

Indemnity: All prices and designs are subject to change without notice. 

Disclaimer: While we have made every attempt at accuracy in this manual, we are not responsible for typographic, printing, or technical errors. 

Return policy: All panel orders and special order (non-stock) trim are considered the property of the customer and non-refundable once they are manufactured. Standard trim and accessories are refundable providing they are returned in a clean, resalable condition.  Returnable trim does not included fascia or L-flashing.  Restocking charges will apply to any items at the discretion of a Tri County Metals representative.

[image: image16.png]\ !
e
Rige Cop | FHRDIEwe | - valey e Tim Sitewal Endunl
Transiton Flashing | prp Edge Outside Comer | Pipe Bact Electical Boot





[image: image17.png]Outside Clsures

Inside Closues |

Butyl Tape.

ol Seal

Prfle Vent

Doutle Bubble

Expanding Foam

Peeland Seal

t

| oo Serewvs

TEK Screws





If you have any questions or concerns, please do not hesitate to contact us.  We appreciate your business and feedback.
Thank you!
Call us at: (352) 463-8400


